# MEM23150 Contribute to the design of heating systems

Release: 1

MEM23150 Contribute to the design of heating systems

# Modification History

Release 1. Supersedes and is equivalent to MEM23150A Contribute to the design of heating systems.

# Application

This unit of competency defines the skills and knowledge required to contribute to the design of appropriate heating equipment to provide optimum performance or to undertake the complete design for less complex systems. It includes determination of best piping configurations and system pipe sizes, taking into account thermal heat losses.

The unit applies to technicians in organisational that design heating systems or undertake design modifications to existing systems as part of manufacturing, installation, commissioning, servicing and maintenance activities.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

### MEM23004 Apply technical mathematics

MEM23006 Apply fluid and thermodynamics principles in engineering

MEM23140 Determine operational parameters for building HVAC hydronic systems

MEM23147 Contribute to the design of hydronic systems

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare design specifications | 1.1 Obtain and implement work health and safety (WHS) and environmental requirements for the work area 1.2 Identify the essential elements of a heating system to meet client design brief 1.3 Consult appropriate personnel to ensure that work is coordinated effectively with others 1.4 Obtain equipment and resources needed for the task in accordance with organisational procedures and check for correct operation and safety |
| 2. Design system | 2.1 Select a heating system design to meet the client requirements 2.2 Plan design development work to meet scheduled timelines 2.3 Check system design draft for compliance with the design brief, regulatory requirements and environmental standards 2.4 Calculate heating loads and matching heating capacity 2.5 Select appropriate heating equipment to satisfy design specifications 2.6 Provide solutions to unplanned situations consistent with organisational procedures 2.7 Document method of capacity rating and sizing for each discrete component in the system to industry standards using organisational procedures |
| 3. Analyse system and adjust system performance | 3.1 Evaluate system performance under variable conditions 3.2 Adjust component selection where required to meet heating system performance criteria 3.3 Determine fulfilment of required heating capacity under full and partial load conditions |
| 4. Validate final design | 4.1 Verify final design using organisational procedures for compliance and regulatory requirements 4.2 Document final system design for client approval according to industry standards and organisational procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| WHS requirements include: | legislation protective equipment material safety management systems hazardous substances and dangerous goods code local safe operation procedures awards provisions. |
| Environmental requirements include: | relevant legislation, regulations and codes correct handling and disposal of liquid and solid waste elimination or minimisation of gas, fume, vapour and smoke emissions, including fugitive emissions dust elimination, minimisation and control minimisation of energy and water use elimination or control of excessive noise use and recycling of refrigerants. |
| Appropriate personnel include: | supervisor, leading hand, foreman or manager engineer technician trainer or mentor team member customer. |
| Resources include: | scientific calculator componentry catalogues technical charts and tables design brief suitable software. |
| Organisational procedures include: | use of tools and equipment instructions, including job sheets, plans, drawings and designs reporting and communication manufacturer specifications operational procedures industry procedures. |
| Equipment includes: | computer workstation and software, either stand alone or networked test apparatus appropriate tools of trade, equipment and materials. |
| Heating equipment includes: | heat pumps, boilers and coils expansion tanks, pumps, control valves and air purge points water treatment, pipe anchors and expansion joints. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM23150A Contribute to the design of heating systems.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2