# Assessment Requirements for MEM23151 Commission and optimise performance of HVACR systems

Release: 1

Assessment Requirements for MEM23151 Commission and optimise performance of HVACR systems

# Modification History

Release 1. Supersedes and is equivalent to MEM23151A Commission and optimise performance of HVACR systems.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

identifying and interpreting drawings and system specifications and commissioning requirements appropriate to the task

implementing work health and safety (WHS) procedures and practices including the use of risk control measures

devising a commissioning schedule and plan

setting up and documenting commissioning tests on at least two occasions

commissioning of HVACR systems on at least two occasions

communicating technical and procedural requirements to others

dealing with unexpected situations

documenting technical information and designs in accordance with procedures.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

WHS requirements

appropriate personnel to consult

fundamentals of HVACR systems, plant and equipment including:

air systems

hydronic systems

control systems

chillers

boilers and furnaces

cooling towers

heat exchangers

piping

ducts

plant and equipment commissioning techniques and procedures including:

set up

measuring and testing

fault-finding

adjustments

reporting and documenting

commissioning schedules

environmental requirements

organisational procedures

resource and equipment requirements.

# Assessment Conditions

Assessors must:

have vocational competency in commissioning and optimising performance of HVACR systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2