# Assessment Requirements for MEM234015 Design hydronic heat exchanger systems

Release: 1

Assessment Requirements for MEM234015 Design hydronic heat exchanger systems

# Modification History

Release 1. Supersedes and is equivalent to MEM234015A Design hydronic heat exchanger systems.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

interpreting features of plant and equipment

confirming parameters of the brief or contract and providing initial advice based on discipline knowledge, standards, work health and safety (WHS), regulatory and risk assessment requirements

researching sustainability implications and current industrial design techniques

investigating faults in existing designs and proposing solutions

measuring, modelling and calculating using appropriate techniques, software and validation techniques

innovating and creating solutions, incorporating systems thinking, continuous improvement, and constraint and contingency management

evaluating solutions against design criteria ensuring conformity to WHS requirements

designing hydronic heat exchange systems using current design methods on at least two occasions, selecting all required boilers, pumps, cooling towers and chillers

applying safe working practices and procedures

communicating, negotiating and reviewing with stakeholders and client throughout the process to obtain agreement on proposal and sign-off on design

documenting design by producing graphics, drawings, specifications and instructions.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

contemporary engineering design methods

design brief parameters

hydronic heat exchange system components including:

boilers

pumps

pipes

pipe fittings

cooling towers and chillers

techniques for:

continuous improvement

problem solving and decision making

root cause analysis (RCA) or failure mode and effects analysis (FMEA) or design review based on failure mode (DRBFM), and Pareto analysis

documenting design with drawings, specifications and instructions required

WHS, regulatory and environmental requirements for work areas and refrigerated spaces

standards, codes of practice, risk management and organisational procedures related to heating, ventilation and air conditioning and refrigeration (HVACR) design, installation, operation and maintenance

concepts of thermodynamics, hydronics, properties of substances, conservation of mass and energy principles

heat transfer including conduction, convection and radiation

heat exchangers

water chillers

pumping systems and cavitation

practical pump installations and operation problems.

# Assessment Conditions

Assessors must:

have vocational competency in designing hydronic heat exchanger systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2