# MEM234015 Design hydronic heat exchanger systems

Release: 1

MEM234015 Design hydronic heat exchanger systems

# Modification History

Release 1. Supersedes and is equivalent to MEM234015A Design hydronic heat exchanger systems.

# Application

This unit of competency defines the skills and knowledge required to design hydronic heat exchanger systems using steam or water as the heat transfer medium and includes boilers for heat generation, cooling towers and chillers for heat dissipation.

It applies to the design of hydronic heat exchanger systems across all forms of manufacturing and engineering, and design activities can also include reverse engineering, and design rectification or modifications of an existing design. It is suitable for hydronic system contractors, building heating, ventilation and air conditioning (HVACR) consultants, designers and maintenance personnel.

Individuals completing this work either already have or are developing skills and experience in the evaluation of hydronic systems, application of heating, ventilation, air conditioning and refrigeration (HVACR) principles, mathematics and computer techniques.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Clarify the design brief and specifications for the hydronic heat exchanger system | 1.1 Establish required features and performance parameters of a hydronic heat exchanger system 1.2 Confirm technical, commercial and environmental parameters of the brief or contract 1.3 Determine stakeholders to be consulted in design process 1.4 Assess work health and safety (WHS), regulatory, sustainability or environmental issues relevant to the design task 1.5 Confirm design brief, including budget and schedule, and provide preliminary advice on feasibility |
| 2. Evaluate design analysis and prepare concept proposals | 2.1 Appraise initial qualitative and quantitative analysis of the design task 2.2 Carry out required detailed modelling and calculations using appropriate software and validation techniques appropriate to the proposed system environment 2.3 Generate solutions for a hydronic heat exchange system that respond to the design brief or contract 2.4 Check feasibility and evaluate solutions against design criteria, ensuring conformity to WHS, air quality, environmental and sustainability requirements 2.5 Present concept proposals to client and select preferred solution |
| 3. Design hydronic system | 3.1 Develop the hydronic system design according to preferred solution 3.2 Provide documentation, drawings, specifications and instructions that reflect the design 3.3 Consult with client and stakeholders to obtain sign-off on design 3.4 Monitor installation and commissioning with stakeholders and make any necessary adjustments to design |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Hydronic heating systems include: | a boiler to heat water piping transfer heated water to panel radiators which are installed in each area requiring heating heat transfer from the panel in each room by natural convection. |
| Parameters of the design brief include: | the design of new equipment or fault analysis, rectification or modification to an existing design determination of the degree of innovation and creativity expected by the client design process limits and budgets product cost limits and budgets performance specifications equipment availability, capacities and restrictions specified administrative, communication and approval procedures other special features and limits in the design brief. |
| WHS, regulatory, sustainability and environmental issues include: | WHS acts, regulations and relevant standards industry codes of practice risk assessments registration requirements safe work practices minimising ecological and environmental footprint of process, plant and product maximising economic benefit of process plant and product to the organisation and the community minimising the negative WHS impact on employees, community and customer state and territory regulatory requirements. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM234015A Design hydronic heat exchanger systems.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2