# Assessment Requirements for MEM234017 Design exhaust, ventilation and dust collection systems

Release: 1

Assessment Requirements for MEM234017 Design exhaust, ventilation and dust collection systems

# Modification History

Release 1. Supersedes and is equivalent to MEM234017A Design exhaust, ventilation and dust collection systems.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

establishing required features and functions of the exhaust, ventilation and dust extraction

confirming parameters of the brief or contract and providing initial advice based on discipline knowledge, standards, work health and safety (WHS), regulatory and risk assessment requirements

researching latest trends and techniques in design of exhaust, ventilation and dust collection plant and equipment systems

investigating, measuring, modelling and calculating design options

investigating faults in existing designs and proposing solutions

modelling and calculating system performance

innovating and creating solutions, incorporating systems thinking, continuous improvement and constraint and contingency management

designing exhaust, ventilation and dust collection systems on at least two occasions

applying safe working practices and procedures

communicating, negotiating and reviewing with stakeholders and client throughout the process to obtain agreement on proposal and sign-off on design

documenting design with required drawings, specifications and instructions.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

contemporary design methods and research and investigation approaches for exhaust, ventilation and dust collection plant and equipment

design brief parameters

techniques for:

continuous improvement

problem-solving and decision-making

root cause analysis (RCA) or failure mode and effects analysis (FMEA) or design review based on failure mode (DRBFM), and Pareto analysis

documentation, drawings, specifications and instructions required

WHS, regulatory and environmental requirements for work areas

standards, codes of practice, risk management and organisational procedures related to the design, installation, operation and maintenance of exhaust, ventilation and dust collection systems

current options and trends in design, performance analysis, and modelling and simulation software, including software validation techniques

concepts of exhaust, ventilation and dust collection

use and validation of system analysis, 3D arrangement, manufacturing data and simulation software

selection and application of fans

ducting design including:

system sizing and balancing methods

air diffusers, outlet design and location

dust collection systems, selection and application

system issues including:

air quality

noise attenuation and sound proofing

flame proofing.

# Assessment Conditions

Assessors must:

have vocational competency in designing exhaust, ventilation and dust collection systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2