# Assessment Requirements for MEM234018 Design heating, ventilation, air conditioning and refrigeration control systems

Release: 1

Assessment Requirements for MEM234018 Design heating, ventilation, air conditioning and refrigeration control systems

# Modification History

Release 1. Supersedes and is equivalent to MEM234018A Design heating, ventilation, air conditioning and refrigeration control systems.

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include:

establishing required features of heating, ventilation and refrigeration plant and equipment

confirming parameters of the brief or contract and providing initial advice based on discipline knowledge, standards, work health and safety (WHS), regulatory and risk assessment requirements

researching sustainability implications and current industrial design techniques

investigating, measuring, modelling and calculating using appropriate software and validation techniques

investigating faults in existing designs and proposing solutions

innovating and creating solutions, incorporating systems thinking, continuous improvement and constraint and contingency management

designing control systems and energy management plans on at least two occasions, using current design criteria and programming building control systems software

applying safe working practices and procedures

communicating, negotiating and reviewing with stakeholders and client throughout the process to obtain agreement on proposal and sign-off on design

documenting design through the production of graphics, drawings, specifications and instructions.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

Evidence required to demonstrate the required knowledge for this unit must be relevant to and satisfy the requirements of the elements and performance criteria and include knowledge of:

contemporary engineering design methods

heating, ventilation, air conditioning and refrigeration (HVACR) control systems

brief or contract parameters

energy management principles

relevant engineering design methods

design, research, modelling and computational methodologies applied to HVACR control systems

design methods, research and investigations methods

techniques for:

continuous improvement

problem solving and decision making

root cause analysis (RCA) or failure mode and effects analysis (FMEA) or design review based on failure mode (DRBFM), and Pareto analysis

WHS and regulatory requirements, codes of practice, standards, risk minimisation and registration requirements

control system principles applied to HVACR systems

types of control equipment

system specifications

system hardware requirements including industrial and commercial refrigeration systems, hydronic systems and automated controls

HVACR load cycles

principles of building management systems (BMS) and building management control system software

energy options including unit tariffs, system and component consumption, benchmarks for energy costs and comparative tariffs of supply authorities

interface principles for system components

major system hardware component control and energy requirements

interface principles and techniques for electrical, electronic, pneumatic and hydraulic sensors and actuators.

# Assessment Conditions

Assessors must:

have vocational competency in designing heating, ventilation, air conditioning and refrigeration control systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Conditions for assessment must include access to all tools, equipment, materials and documentation required including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2