# MEM234018 Design heating, ventilation, air conditioning and refrigeration control systems

Release: 1

MEM234018 Design heating, ventilation, air conditioning and refrigeration control systems

# Modification History

Release 1. Supersedes and is equivalent to MEM234018A Design heating, ventilation, air conditioning and refrigeration control systems.

# Application

This unit of competency defines the skills and knowledge required to design heating, ventilation, air conditioning and refrigeration (HVACR) control and energy management systems and includes the selection of control system elements to suit HVACR environmental and hardware control requirements and development of an energy management plan.

The client may be internal or external to the designer’s organisation.

It applies to the design of control systems and energy management plans across all forms of manufacturing and engineering and design activities can also include reverse engineering, and design rectification or modifications of an existing design. It is suitable for refrigeration system contractors, HVACR consultants, designers and senior maintenance personnel.

Individuals completing this work either already have or are developing skills and experience in the evaluation of HVACR control systems, hydronic and refrigeration systems and thermal loads, electrical principles, controller programming and computing.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Engineering science

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Clarify the design brief and specifications for HVACR control system | 1.1 Establish required features and performance parameters of HVACR control system 1.2 Confirm technical, commercial and environmental parameters of the brief or contract 1.3 Determine stakeholders to be consulted in design process 1.4 Assess work health and safety (WHS), regulatory, sustainability or environmental issues relevant to the design task 1.5 Confirm design brief including budget and schedule and provide preliminary advice on feasibility |
| 2. Evaluate design analysis and prepare concept proposals | 2.1 Appraise initial qualitative and quantitative analysis of the design task 2.2 Carry out required detailed modelling and calculations using appropriate software and validation techniques appropriate to system environment 2.3 Generate solutions that respond to the design brief for an HVACR control system 2.4 Develop an associated energy management plan for the design 2.5 Integrate building management systems (BMS) considerations into the design based on requirements of the brief 2.6 Check feasibility and evaluate solutions against design criteria, ensuring conformity to standards and codes, technical, economic and WHS requirements 2.7 Determine social and sustainability implications of solutions 2.8 Present concept proposals to client |
| 3. Design HVACR control system | 3.1 Evaluate concept proposals with client 3.2 Ensure that design solution is optimised with respect to the system specifications 3.3 Finalise selected design, including equipment, layout and fluid requirements 3.4 Ensure preparation of all required documentation, drawings, specifications and instructions 3.5 Consult with client and stakeholders to obtain sign-off on design 3.6 Monitor installation and commissioning with stakeholders and make any necessary adjustments to design |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| HVACR control system includes: | human machine interfaces (HMIs) web servers, network topology and bus systems protocols system or network controllers programmable logic controllers (PLCs) terminal unit controllers for major plant components including boilers and HVACR central plant air handlers, chilled and hot water valves, air dampers, supply fans and lighting analog and digital input/output (I/O) remote control systems, including ethernet options. |
| Parameters of the brief or contract include: | the design of new equipment or fault analysis, rectification or modification to an existing design determination of the degree of innovation and creativity expected by the client design process limits and budgets product cost limits and budgets performance specifications equipment availability, capacities and restrictions specified administrative, communication and approval procedures other special features and limits in the design brief. |
| WHS, regulatory, sustainability or environmental issues include: | WHS acts, regulations and relevant standards industry codes of practice risk assessments registration requirements safe work practices minimising ecological and environmental footprint of process, plant and product maximising economic benefit of process plant and product to the organisation and the community minimising the negative WHS impact on employees, community and customer state and territory regulatory requirements. |
| Environment includes one or more of the following: | workplaces food halls restaurants hotels hospitals domestic dwellings industrial sites, factories, warehouses and cold storage areas transport and refrigerated vehicles and trains. |
| Solutions include those that: | satisfy the technical requirements of the design brief are within budget are able to be manufactured meet any regulatory requirements minimise environmental and sustainability impacts. |
| System specifications include: | ducts and duct systems: materials supports factory and field fabricated sealants layout and placements capacity zoning heating and cooling loads air flow and pressures refrigerants energy efficiency air intake points control equipment monitoring equipment. |
| Energy management plan includes: | information needed to make efficient and effective movement to improved energy management and reduce energy consumption which includes: critical information steps resources methods. |
| BMS includes one or more of the following: | HVACR control systems fire controls security controls lighting controls. |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MEM234018A Design heating, ventilation, air conditioning and refrigeration control systems.

# Links

Companion Volume Implementation Guides are available on VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2