# Assessment Requirements for MEM29004 Analyse and problem solve a PLC based industrial control system

Release: 1

Assessment Requirements for MEM29004 Analyse and problem solve a PLC based industrial control system

# Modification History

Release 1. New unit.

# Performance Evidence

There must be evidence the candidate demonstrated the ability to:

analyse complex information and documentation from at least two sources for PLC application requirements

install at least two PLCs according to manufacturer’s specifications and PLC application requirements including:

installing required modules, connectors, and other equipment

installing PLC protection equipment including:

over-voltage and over-current

physical shielding

magnetic shielding

physical security and access barriers/equipment

using appropriate testing equipment for PLC applications

taking accurate measurements during set up and implementation of at least two PLC-based industrial control systems

documenting PLC programs and function tests

install, test and debug PLC code for at least one local and one cloud-based PLC

research technology developments in PLC based industrial control systems for own area of responsibility

locate hardware and software faults in at least two already installed PLCs

produce logic flow diagrams and state diagrams.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

work health and safety (WHS) requirements relevant to PLC-based industrial control systems

sources of technical information relating to PLC-based industrial control systems including manufacturer’s specifications, workplace procedures and other relevant sources

features of programmable controllers including:

relay control, static logic control and programmable control

programmable controller block diagram (inputs and outputs)

programmable controller symbols

programmable controller functions

numbering systems start-up procedures

special units

advantages of distributed control PLCs in Industry 4.0 including:

shorter communication loops

facilitation of redundancy and backup

increased opportunity for incremental improvement to operations

types of local and remote PLC connectivity including:

sensor-PLC

PLC – supervisory control and data acquisition (SCADA) system

PLC – enterprise resource planning system (ERP)

PLC – human machine interface

PLC – non-manufacturing-based programs

ethernet and WiFi protocols relevant to PLCs

relay logic circuits including:

series

parallel

combination of series and parallel

interlocking

programmable logic including:

on state instruction

series equivalent circuits

parallel equivalent circuits

combination series/parallel

off state instruction

control relay logic conversion

fail safe including:

identifying need for fail safe

programming fail safe

hardware fail safe

program editors

Grafcet

statement list

ladder

graphical

advanced logic concepts including:

move

block transfer

compare

block compare

and words

mask

maths function

scaling and unscaling

shift register

multiplexing

•	sequencer encompassing:

application

event

time driven

Boolean algebra

counters and timers

bit operations

data protocols

cyber-security procedures and protocols relevant to PLCs

diagnostic and troubleshooting procedures for PLC-based industrial control systems and their components

procedures for documenting and reporting PLC program and test outcomes.

# Assessment Conditions

Assessors must:

have vocational competency in problem solving PLC based industrial control system at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible, assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

There must be access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2