# MEM29004 Analyse and problem solve a PLC based industrial control system

Release: 1

MEM29004 Analyse and problem solve a PLC based industrial control system

# Modification History

Release 1. New unit.

# Application

This unit defines the skills and knowledge required to analyse the role of programmable logic controllers (PLCs) in Industry 4.0 workplace environments, including implementing PLC applications, testing and problem-solving a PLC-based Industry 4.0 related industrial control system (including setting up, testing and documenting the PLC program) and ensuring integration with other Industry 4.0 systems in a workplace. PLC controller functions and software may be local or cloud- based.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Applied technologies

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify the control and networking requirements for the PLC application | 1.1 Identify the control system specifications and PLC application requirements from documentation, work request or discussion with relevant personnel 1.2 Analyse PLC application requirements and identify the relationship to the broader Industry 4.0 systems and environment in the enterprise 1.3 Analyse PLC application requirements for workplace health and safety (WHS) and risk control implications 1.4 Analyse control system specifications and PLC application requirements and determine the extent of local and cloud-based processing and programming required 1.5 Identify and select resources and equipment requiring local installation that are consistent with PLC application requirements and manufacturer’s specifications |
| 2. Set up a PLC-based industrial control system | 2.1 Apply WHS procedures and risk control measures associated with PLC application 2.2 Consult with appropriate personnel to ensure planned work is coordinated effectively with others and downtime is minimised 2.3 Check tools and equipment for serviceability and rectify or report any faults prior to commencement 2.4 Install required PLC modules, connectors, and other equipment according to manufacturer’s specifications and PLC application requirements 2.5 Program PLC locally or via cloud according to manufacturer’s specifications and PLC application requirements |
| 3. Test and verify PLC program | 3.1 Check equipment and machinery is isolated according to safety requirements before commencing PLC testing process 3.2 Test the function and operations of the PLC program 3.3 Resolve faults and other non-conformances including seeking expert assistance when needed 3.4 Verify test results and other diagnostic findings |
| 4. Complete work and document PLC program | 4.1 Advise appropriate personnel when PLC based industrial control system is completed and equipment and machinery can be released from isolation 4.2 Document PLC program and function test according to workplace procedures 4.3 Complete workplace documentation according to established procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Industry 4.0 systems include one or more of the following: | industrial internet of things (IIoT) devices collaborative robots networked and cloud connected traditional robots and other industrial automation networked and cloud connected supervisory control and data acquisition systems (SCADA) networked and cloud connected enterprise resource planning (ERP) systems networked and cloud connected CAD and CAM systems digital twins augmented and virtual reality systems networked and cloud connected CNC and additive manufacturing machines networked and cloud connected data storage and processing facilities networked and cloud connected edge devices other networked and cloud connected digital devices and systems relevant to the workplace. |
| WHS procedures and risk control measures include one or more of the following: | personal protective equipment (PPE) job safety analysis (JSA) worksheets material safety data sheet (MSDS) safety equipment and devices safety signs /symbols. |
| PLCs include: | local PLCs where all PLC components, data transmission, programming and control functions are located within the workplace hybrid PLCs where some programming software and controller functions are local and some are cloud based software defined controllers (virtual PLCs) featuring one or more of: programming and controller functions are cloud based networking via the cloud with other controllers and enterprise supervisory systems. |
| PLC modules include one or more of the following: | central processing unit (CPU) module interface module communication module power supply module input/output (I/O) module. |
| PLCs are one or more of the following: | original i.e. built in from equipment first manufacture retrofitted after manufacture to enhance equipment control. |

# Unit Mapping Information

No equivalent unit

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2

Assessment Requirements for MEM29004 Analyse and problem solve a PLC based industrial control system

# Modification History

Release 1. New unit.

# Performance Evidence

There must be evidence the candidate demonstrated the ability to:

analyse complex information and documentation from at least two sources for PLC application requirements

install at least two PLCs according to manufacturer’s specifications and PLC application requirements including:

installing required modules, connectors, and other equipment

installing PLC protection equipment including:

over-voltage and over-current

physical shielding

magnetic shielding

physical security and access barriers/equipment

using appropriate testing equipment for PLC applications

taking accurate measurements during set up and implementation of at least two PLC-based industrial control systems

documenting PLC programs and function tests

install, test and debug PLC code for at least one local and one cloud-based PLC

research technology developments in PLC based industrial control systems for own area of responsibility

locate hardware and software faults in at least two already installed PLCs

produce logic flow diagrams and state diagrams.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

work health and safety (WHS) requirements relevant to PLC-based industrial control systems

sources of technical information relating to PLC-based industrial control systems including manufacturer’s specifications, workplace procedures and other relevant sources

features of programmable controllers including:

relay control, static logic control and programmable control

programmable controller block diagram (inputs and outputs)

programmable controller symbols

programmable controller functions

numbering systems start-up procedures

special units

advantages of distributed control PLCs in Industry 4.0 including:

shorter communication loops

facilitation of redundancy and backup

increased opportunity for incremental improvement to operations

types of local and remote PLC connectivity including:

sensor-PLC

PLC – supervisory control and data acquisition (SCADA) system

PLC – enterprise resource planning system (ERP)

PLC – human machine interface

PLC – non-manufacturing-based programs

ethernet and WiFi protocols relevant to PLCs

relay logic circuits including:

series

parallel

combination of series and parallel

interlocking

programmable logic including:

on state instruction

series equivalent circuits

parallel equivalent circuits

combination series/parallel

off state instruction

control relay logic conversion

fail safe including:

identifying need for fail safe

programming fail safe

hardware fail safe

program editors

Grafcet

statement list

ladder

graphical

advanced logic concepts including:

move

block transfer

compare

block compare

and words

mask

maths function

scaling and unscaling

shift register

multiplexing

•	sequencer encompassing:

application

event

time driven

Boolean algebra

counters and timers

bit operations

data protocols

cyber-security procedures and protocols relevant to PLCs

diagnostic and troubleshooting procedures for PLC-based industrial control systems and their components

procedures for documenting and reporting PLC program and test outcomes.

# Assessment Conditions

Assessors must:

have vocational competency in problem solving PLC based industrial control system at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible, assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

There must be access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2