# Assessment Requirements for MEM29005 Diagnose faults in digital control systems

Release: 1

Assessment Requirements for MEM29005 Diagnose faults in digital control systems

# Modification History

Release 1. New unit.

# Performance Evidence

There must be evidence the candidate has demonstrated the ability to:

research supplier web sites and technical documentation for:

latest developments with digital control systems and their diagnostic procedures

information relevant to diagnostic procedures for specific digital control systems

prepare and justify a plan for diagnosing faults for three different types of digital control system faults

accurately identify and locate faults in at least three different types of digital control system faults

use appropriate tools, testing equipment and software applications for diagnosing and rectifying faults on at least three digital control systems

take accurate measurements during diagnostic procedures on digital control systems

correct programming-related faults through basic reprogramming

document and report diagnostic and repair outcomes

document faults and prepare recommendations for expert assistance, upgrades, or other actions where fault is unable to be repaired immediately.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

types and functions of digital control systems, including microcontroller-based applied digital control

workplace health and safety (WHS) regulatory requirements relevant to troubleshooting digital control systems

fault-finding principles in troubleshooting digital control systems

common digital faults in digital control systems including faults in:

signals

numbering systems

combinational logic circuits

digital subsystem building blocks

types, functions, operation and limitations of digital test equipment

standards, codes and regulations relevant to troubleshooting digital control systems

sensors including:

classification

characteristics

types

signal transmission including analog transmission and sensor digital conversion and transmission

micro-electro-mechanical systems (MEMS)

wireless sensor networking

interfacing/signal conditioning

balanced lines and noise reduction

standard analog 20ma current loops for process control

analogue to digital conversion process for digital control systems including:

signal generation through sensors

signal conditioning

signal amplification where needed

signal processing

operational amplifiers

digital to analogue conversion process and types of digital to analogue converters (DACs)

voltage/current to frequency and frequency to voltage/current conversion

mechanical switches.

# Assessment Conditions

Assessors must:

have vocational competency in diagnosing faults in digital control systems at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible, assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

There must be access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2