# Assessment Requirements for MEM29012 Access and use a digital twin for operational purposes

Release: 1

Assessment Requirements for MEM29012 Access and use a digital twin for operational purposes

# Modification History

Release 1. New unit.

# Performance Evidence

There must be evidence the candidate has demonstrated the ability to:

follow cyber security protocols for accessing a digital twin

access digital twin dashboard, functional layers and test modes on at least two occasions

use digital twin to access current or historical component or equipment condition monitoring-related data

use a digital twin for predictive analysis of manufacturing scenario

map and fault-find data pathways to and from sensors linked to physical objects and a digital twin.

Note: Where a volume and/or frequency is not specified, demonstration must be provided at least once.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

typical uses of digital twins in manufacturing and engineering including:

prototype analysis

condition monitoring

lifecycle analysis

predictive modelling of scenarios, products or processes

live monitoring of equipment and processes

supply chain visualisation

advanced analytics

sources of data for digital twins including:

design specifications

production, maintenance and quality reports

business data including customer feedback

sensors

real time and historical SCADA and IIoT data

types and scope of digital twins including:

prototype digital twins created to model a product or process before it is created

component digital twins

machine, process or system level digital twins allowing interactions to be visualised and scenarios modelled

two-way communication processes and protocols between digital twins and physical objects and processes

processes for checking and harmonising digital twin data with other physical sources of data in the workplace including data generated from SCADA and IIoT systems and devices

cyber security protocols associated with digital twins

advantages of using a digital twin for data and modelling over physical assets including:

safety

potential longer life

lower operating cost

ability of a digital twin to visualise processes and provide information transparency in situations where obtaining data from the physical object or process is:

too dangerous

too costly

not possible without shutting down the equipment or process

unlikely to give the same degree of detail or accuracy as the digital twin

situations where use or creation of a digital twin may be inappropriate:

a sufficient or regular flow of data to support the digital twin is not available

the physical object or process is not sufficiently complex to support a digital twin

the cost of creating and maintaining the digital twin is not worth the return.

# Assessment Conditions

Assessors must:

have vocational competency in accessing and using a digital twin for operational purposes at least to the level being assessed with relevant industry knowledge and experience

satisfy the assessor requirements in the Standards for Registered Training Organisations 2015 or its replacement and comply with the National Vocational Education and Training Regulator Act 2011, its replacement or equivalent legislation covering VET regulation in a non-referring state/territory as the case requires.

Where possible, assessment must occur in operational workplace situations. Where this is not possible or where personal safety or environmental damage are limiting factors, assessment must occur in a sufficiently rigorous simulated environment that reflects realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

There must be access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=b7050d37-5fd0-4740-8f7d-3b7a49c10bb2