# Assessment Requirements for MSFBA3016 Install awnings

Release: 1

Assessment Requirements for MSFBA3016 Install awnings

# Modification History

Release 1. Supersedes but is not equivalent to MSFBA3002 Install exterior blinds and awnings.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements, performance criteria, and foundation skills of this unit, which must include the ability to:

safely and correctly install one of each of the following types of exterior awnings:

one manual pull-down awning for a residential building

one motorised roll-up awning for a commercial building

one awning for a residential building that is either a metal hooded canopy or a textile canopy

one folding-arm awning for a commercial building that is fitted with an electric wind sensor control device.

One of the above installations must be above ground level and demonstrate the safe and correct use of lifting equipment.

One of the above motorised control devices must be a 240V device connected to mains power; and one a 12V rechargeable solar or battery-operated device.

In the course of each of the above installations, the person must:

interpret work order and locate components, materials, tools and equipment required for the installation

apply safe lifting and handling procedures

follow work instructions and safe operating procedures to:

minimise risk of injury to self and others

prevent damage to site, tools, equipment and products

maintain required production output and quality

use fixing hardware, hand and power tools safely

use personal protective equipment (PPE)

use and dispose of waste sustainably

avoid backtracking, work flow interruptions, and wastage

identify and resolve routine problems and faults encountered

work with others, recognising dependencies and using cooperative approaches to optimise work flow and productivity.

In installing the suite of awnings, the candidate must demonstrate the ability to:

install in at least two of the following different openings:

door or window

sliding door

wide-span opening 3 metres or above

fasten to at least two of the following different surfaces:

aluminium

concrete

masonry

plasterboard

steel

timber.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

features of installation work orders and supplier instructions relating to the types of awnings in the performance evidence, and how to identify and interpret key information

work order requirements, and industry-accepted quality indicators and requirements, relating to installations described in performance evidence:

key requirements of Australian standards and codes of practice for individual installers

building code requirements specific to installation described in performance evidence

safety considerations and potential dangers associated with incorrect installation

wind zoning requirements

operation and maintenance requirements of awnings in performance evidence

emerging trends in installing awnings, including new materials used in face, reveal and packing and their associated energy ratings and fire retardant attributes

work health and safety (WHS) procedures, practices and regulations specific to installations described in performance evidence:

controlling hazards and risks

eliminating hazardous materials and substances

managing rain and wind resistance during installation

using firefighting equipment and first aid equipment

operating lifting equipment

using personal protective equipment

workplace procedures relating to:

communicating work requirements with customers

scheduling installation

accessing and inspecting installation sites

manual handling, including lifting and carrying

safely installing and fastening awnings

tagging and reporting faulty tools and equipment

disposing of waste safely and in an environmentally sustainable manner

recycling and re-use guidelines

cleaning and storing tools and equipment

storing surplus unused items

recording and reporting installation information

presenting invoices, and collecting and receipting payments

techniques for installing electric and manual control devices:

electric, including radio-controlled remote devices and photocell sensor devices using 240V mains power, and 12V rechargeable solar and battery-operated control

manual, including wands and pull sticks

effect of site characteristics and access restrictions on installation equipment selection and use

techniques for installing and fastening awnings described in performance evidence, including:

in openings made of:

aluminium

concrete

masonry

plasterboard

steel

timber

installing and fixing that:

conform to quality requirements

comply with supplier instructions and manufacturer specifications

maximise the appearance of the finished work

provide for the most economical use of materials and labour

mathematical methods for estimating and measuring installation openings, including factoring in required tolerances

requirements and procedures for using qualified licensed electricians when installation and control devices involve mains power

types of common problems that occur during installation, and how to avoid and respond

types, characteristics, uses, maintenance and limitations of the following items required for the installations described in performance evidence:

awning products and materials

special application brackets

operating mechanisms required for type of awnings being installed, including radio-controlled remote devices and photocell sensor devices

specialised fixing hardware used for the different types of awnings:

Dyna Bolts

masonry anchors

mounting brackets

nuts and bolts

screws, including hex screws

tools and equipment:

hand tools, including drills, screwdrivers, hex keys and snip cutters

power tools, including 240V mains connected and 12V rechargeable solar and battery-operated

equipment, including ladders, drop sheets, barriers, cones, signs and lifting equipment

documentation requirements for installation work described in performance evidence.

# Assessment Conditions

Assessment must occur in the workplace, or in a simulated environment that reflects workplace conditions and contingencies.

Access is required to tools, materials, equipment and specifications for the installation described in the performance evidence above, including:

awnings requiring installation as specified in the performance evidence

PPE applicable to job requirements

WHS documentation specific to the installation

fixing hardware, tools and equipment specified in the knowledge evidence

control devices for awnings being installed

workplace documentation required for each installation, including:

work orders, customer orders, job cards and work quotations

workplace procedures specified in the knowledge evidence

supplier instructions and manufacturer specifications

customer care cards

customer invoices and receipts

time sheets.

Assessors of this unit must satisfy the assessor requirements in applicable vocational education and training legislation, frameworks and/or standards.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73