# Assessment Requirements for MSFDG3002 Prepare and install architectural engineered leadlight and stained glass

Release: 1

Assessment Requirements for MSFDG3002 Prepare and install architectural engineered leadlight and stained glass

# Modification History

Release 1. Supersedes and is equivalent to MSFSL3004 Prepare and install architectural engineered leadlight and stained glass.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

constructed 3 different leadlight panels which individually or cumulatively include geometric and organic shapes

made repairs that individually or cumulatively include all of the following:

corner

edge

internal

complete re-lead

bench repair

in situ repair.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

state or territory work health and safety legislation, regulations, standards and codes of practice relevant to the full range of processes for leadlight and stained glass operations

architectural leadlight and stained glass construction terminology and techniques

organisational and site standards, requirements, policies and procedures for preparation and installation of architectural leadlight and stained glass

types of glass and other materials used in the leadlight and stained glass industry, their characteristics, properties, uses and limitations

structural leadlight and stained glass, their properties, uses and limitations

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

environmental protection requirements relating to the disposal of waste material

problem identification and resolution

storage systems and labelling

procedures for the recording, reporting and maintenance of workplace records and information

mathematical procedures for estimation and measurement.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

stained glass and leadlight for installation

tools and equipment to complete tasks in the Performance Evidence

customer and/or work requirements

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73