# MSFFL1001 Complete simple floor covering installation

Release: 1

MSFFL1001 Complete simple floor covering installation

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers completing installation of timber, carpet or resilient floor coverings in a simple context.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Lay out materials | 1.1 | Plans and/or drawings are read and interpreted |
|  |  | 1.2 | Work health and safety (WHS) requirements, including personal protection needs, are observed throughout the work |
|  |  | 1.3 | Tools, equipment and materials are selected and checked prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition |
|  |  | 1.4 | Suitable adhesives, trims and accessories are selected if required |
|  |  | 1.5 | Materials are laid out to meet specification requirements and minimise waste and joins |
| 2 | Prepare materials for installation | 2.1 | Sequence of work is planned to ensure lay out and fixing is in logical order |
|  |  | 2.2 | Underlay is cut to specification |
|  |  | 2.3 | Materials are cut to shape, length and size for final laying |
|  |  | 2.4 | Adhesives and edge strips are prepared for use as required |
| 3 | Lay flooring | 3.1 | Instructions and sequence for laying and fixing are followed |
|  |  | 3.2 | Appropriate underlay is laid according to manufacturer recommendations |
|  |  | 3.3 | Materials for fixing are organised and used in accordance with relevant safety management requirements |
|  |  | 3.4 | Fixing methods and equipment are used following manufacturer recommendations |
|  |  | 3.5 | Finished job is inspected and any imperfections are rectified following workplace procedures |
| 4 | Complete housekeeping | 4.1 | Unused materials are stored or recycled as required |
|  |  | 4.2 | Tools and equipment are cleaned and stored appropriately |
|  |  | 4.3 | Work area is cleaned and rubbish disposed of appropriately |
|  |  | 4.4 | Workplace documentation is completed |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | this unit is designed for a VET in Schools or equivalent program where the level of supervision is likely to be more direct than under normal working conditions WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individual to demonstrate some discretion, judgement and problem solving simple floor covering contexts include those where: sub-floor preparations are not required or have been completed the area to be covered is rectangular or square no pattern, border design or colour matching is required |
| Timber flooring includes: | floating floor strip timber flooring (non-structural) parquetry and cork tiles |
| Carpet flooring includes: | tufted carpet woven carpet needle punch carpet and fusion bonded carpe |
| Resilient flooring includes: | homogenous/heterogeneous backed PVC linoleum sheet rubber sheet and composition vinyl |
| Tools and equipment for timber floor covering installation include: | drop saw jig saw hand saw undercut saw plunge saw nail gun straight edge cramps clamps hammer bar scriber tape measure and utility knife |
| Tools and equipment for carpet floor covering installation include: | carpet knee kicker power stretcher carpet wall trimmer trolley hammer trimming knife spiked carpet roller weight or seam roller awl carpet spreader carpet shears napping shears and tape measure |
| Tools and equipment for resilient floor covering installation include: | utility knife straight edge square chalk and chalk-line tape measure hacksaw serrated trowel hammer scribing bar divider roller gas bottle and gun rubber mallet paint brush and bucket spatula knife trolley and wall trimmer |
| Materials include: | flooring materials underlay edge strips reducing strips tapes adhesives adhesive tapes skirting domestic carpet gripper strips heat seam tape hessian tape and thread |
| Personal protective equipment includes: | that prescribed under legislation, regulations and enterprise policies and practices |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFFL1001A Complete simple floor covering installation

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73