# MSFFL2006 Prepare, select and apply smoothing and patching compounds

Release: 1

MSFFL2006 Prepare, select and apply smoothing and patching compounds

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers preparing, selecting and applying cementitious products using smoothing and skim coating techniques to concrete and timber sub-floors in readiness for the installation of floor coverings and coatings for internal and external applications.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for work | 1.1 | Applicable work health and safety (WHS), legislative and organisational requirements relevant to selecting and applying smoothing and patching compounds for sub-floor preparation are verified and complied with |
|  |  | 1.2 | Instructions and/or plans are read and interpreted to identify the process required to complete work tasks |
|  |  | 1.3 | Floors are inspected to ensure that they are dry, smooth, plane, sound and clean in accordance with Australian Standards, and the extent of preparation is confirmed |
|  |  | 1.4 | Trial applications of surface materials are made to determine the suitability of the primer to the sub-floor, and the appropriateness of the smoothing compound to smoothing requirements and compatibility to the primer and sub-floor application |
|  |  | 1.5 | Tools, equipment and materials are selected and checked prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition |
|  |  | 1.6 | Material safety data sheets (MSDS), or equivalent, are read and applied during the work |
|  |  | 1.7 | Materials and equipment are prepared and positioned for use |
|  |  | 1.8 | Surfaces are cleaned in accordance with manufacturer recommendations |
| 2 | Apply levelling compounds and primers | 2.1 | Surface coating is applied with the depth and coverage in accordance with manufacturer specifications and job requirements |
|  |  | 2.2 | Levelled floor is checked and cleared for further processing |
| 3 | Apply levelling compounds and primers to timber sub-floors | 3.1 | Surfaces are checked for contamination, moisture content and suitable preparation |
|  |  | 3.2 | MSDS, or equivalent, are read and applied during the work |
|  |  | 3.3 | A mixing station is established where materials and equipment are prepared and positioned for use |
|  |  | 3.4 | Trial applications of surface materials are made to check equipment operation, materials consistency and specified surface finish |
|  |  | 3.5 | Levelled floor is checked and cleared for further processing |
| 4 | Complete housekeeping | 4.1 | Unused materials are stored or recycled as required |
|  |  | 4.2 | Tools and equipment are cleaned and stored appropriately |
|  |  | 4.3 | Work area is cleaned and rubbish disposed of appropriately |
|  |  | 4.4 | Workplace documentation is completed |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individual to demonstrate some discretion, judgement and problem solving |
| Surface materials include: | compounds used to repair, level, smooth or skim a sub-floor of timber or concrete |
| Tools and equipment include: | finishing trowel grouping and batching buckets mixing palette hair broom trolley plastic sheeting mixing drill screed bar |
| Australian Standards include: | AS/NZS 2455.1:2007 Textile floor coverings - Installation practice – General AS 1884-2012 Floor coverings - Resilient sheet and tiles - Installation practices |
| Personal protective equipment includes: | that prescribed under legislation, regulations and enterprise policies and practices |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFFL2102A Prepare, select and apply smoothing and patching compounds

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL2006 Prepare, select and apply smoothing and patching compounds

# Modification History

Release 1 - New unit of competency

# Performance Evidence

Interpret work order and locate and apply relevant information

Apply safe handling requirements for equipment, products and materials, including use of personal protective equipment

Identify materials used in the work process

Follow work instructions, operating procedures and inspection processes to:

minimise the risk of injury to self or others

prevent damage to goods, equipment and products

maintain required production output and product quality

Complete, to Australian Standards, a minimum of two (2) sub-floor preparations which are to include:

a patch and repair

a level pour

Use mathematical ideas and techniques to correctly complete measurements, calculate area and estimate material requirements

Communicate ideas and information to enable confirmation of work requirements and specifications and the reporting of work outcomes and problems, interpret basic plans and follow safety procedures

Avoid backtracking, work flow interruptions or wastage

Work with others and in a team by recognising dependencies and using cooperative approaches to optimise work flow and productivity

# Knowledge Evidence

State or territory WHS legislation, regulations, standards and codes of practice relevant to floor patching and smoothing techniques

Organisation and site standards, requirements, policies and procedures for applying smoothing and patching compounds

Environmental protection requirements

Established communication channels and protocols

Relevant problem identification and resolution

Types of tools and equipment and procedures for their safe use, operation and maintenance

AS/NZS 2455.1:2007 Textile floor coverings - Installation practice - General

AS 1884-2012 Floor coverings - Resilient sheet and tiles - Installation practices Characteristics of materials, products and defects

Set-up and operation of equipment

Procedures for the recording, reporting and maintenance of workplace records and information

Appropriate mathematical procedures for estimation and measurement

Characteristics and requirements of concrete and timber sub-floor preparation

Type, characteristics, uses and limitations of smoothing compounds and primers

Workplace safety system requirements related to the application of smoothing compounds and primers

# Assessment Conditions

Assessors must:

hold training and assessment competencies as determined by the National Skills Standards Council (NSSC) or its successors

have vocational competency in the furnishing industry at least to the level being assessed with broad industry knowledge and experience, usually combined with a relevant industry qualification

be familiar with the current skills and knowledge used and have relevant, current experience in the furnishing industry.

Assessment methods must confirm consistency of performance over time rather than a single assessment event and in a range of workplace relevant contexts.

Assessment must be by observation of relevant tasks with questioning on underpinning knowledge and, where applicable, multimedia evidence, supervisor’s reports, projects and work samples.

Assessment is to be conducted on single units of competency or in conjunction with other related units of competency. Foundation skills are integral to competent performance in the unit and should not be assessed separately.

Assessment must occur on the job or in a workplace simulated facility with relevant process, equipment, materials, work instructions and deadlines.

Access is required to materials and equipment relevant to sub-floor smoothing and patching activities.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73