# Assessment Requirements for MSFFL2039 Install laminate flooring

Release: 1

Assessment Requirements for MSFFL2039 Install laminate flooring

# Modification History

Release 1. Supersedes and is not equivalent to MSFFL2023 Install laminate timber and bamboo flooring.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed 3 laminate installations in accordance with job requirements, featuring each of the following at least once:

a complete room

intermediate expansion trims

proprietary finishing trims.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

laminate flooring installation:

Australian Standards requirements

workplace safety system requirements

work flow

environmental protection and sustainability requirements

how to access manufacturer instructions

types, characteristics, uses and limitations of:

laminate flooring

installation adhesives

underlays

types, characteristics, uses and limitations of adhesives used in floating flooring, including:

polyvinyl alcohol (PVA)

epoxy

polyurethane elastomeric

characteristics and requirements of sub-floor preparation

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

techniques for set out, laying, cutting and fixing, the types of problems that may occur and how to avoid and respond

quality indicators for completed work

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

location for installation

laminate flooring

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73