# MSFFL3010 Install synthetic floor coverings to sports facilities and outdoor spaces

Release: 1

MSFFL3010 Install synthetic floor coverings to sports facilities and outdoor spaces

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers installing synthetic textile and other floor coverings to indoor and outdoor sporting facilities and outdoor spaces, including the preparation, cutting, laying out, joining, fixing and finishing of the covering material. It applies to a wide variety of flooring technology installation operations and involves application of skills and knowledge at a trade worker level.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for installation | 1.1 | Applicable work health and safety (WHS), legislative and organisational requirements relevant to the installation of synthetic textile floor coverings are verified and complied with |
|  |  | 1.2 | Instructions and/or plans are read and interpreted to identify the process required to complete work tasks |
|  |  | 1.3 | Tools, equipment and materials are selected and checked prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition |
|  |  | 1.4 | Sub-floor condition is assessed for suitability for installation |
|  |  | 1.5 | Suitable adhesives, trims and accessories are selected, if required |
|  |  | 1.6 | Sequence of work is planned, including the starting point, to ensure efficiency and quality of installation |
| 2 | Set out materials | 2.1 | Synthetic floor covering material to be installed is checked against the work order |
|  |  | 2.2 | Synthetic floor covering is acclimatised according to manufacturer recommendations |
|  |  | 2.3 | Soft underlays for synthetic floor coverings, where applicable, are cut and laid to specification |
|  |  | 2.4 | Working lines and starting point are established |
|  |  | 2.5 | Adhesives and edge strips are prepared for use as required |
| 3 | Lay floor covering | 3.1 | Instructions and sequence for laying and fixing are followed |
|  |  | 3.2 | Materials for fixing are organised and used in accordance with relevant safety management requirements |
|  |  | 3.3 | Synthetic floor coverings are laid out to meet pattern and specification requirements and to minimise waste and joins |
|  |  | 3.4 | Synthetic floor coverings are accurately and clearly marked for cutting |
|  |  | 3.5 | Synthetic floor coverings are cut to length, joins are cut and prepared for final laying |
|  |  | 3.6 | Line marking is completed where required |
|  |  | 3.7 | Cover trims are fitted and finished |
|  |  | 3.8 | Completed installation is checked for flaws in installation and materials and faults rectified |
| 4 | Complete housekeeping | 4.1 | Unused materials are stored or recycled as required |
|  |  | 4.2 | Tools and equipment are cleaned and stored appropriately |
|  |  | 4.3 | Work area is cleaned and rubbish disposed of appropriate |
|  |  | 4.4 | Workplace documentation is completed |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Legislative requirements include: | applicable legislation from all levels of government that affect organisational operation award and enterprise agreements industrial relations Australian Standards confidentiality and privacy WHS the environment equal employment opportunity (EEO) anti-discrimination relevant industry codes of practice duty of care and heritage |
| WHS requirements include: | Commonwealth, state or territory legislation and regulations organisational safety policies and procedures the use of personal protective equipment and clothing firefighting equipment first aid equipment hazard and risk control and elimination control of hazardous materials and substances manual handling, including lifting and carrying |
| Organisational requirements include: | legal, organisational and site guidelines policies and procedures relating to own role and responsibility quality assurance procedural manuals quality and continuous improvement processes and standards WHS emergency and evacuation ethical standards recording and reporting access and equity principles and practices equipment use, maintenance and storage environmental management (waste disposal, recycling and re-use guidelines) |
| Synthetic textile floor coverings include: | synthetic turf needle punch carpet PVC-backed carpet rubber-backed carpet solid ethylene vinyl acetate (EVA) vinyl (solid and tile) |
| Installation locations include: | indoor and outdoor sports facilities public and private playgrounds recreational areas and other common spaces traffic islands marine applications |
| Instructions include: | workplace procedures relating to the use and operation of tools and equipment workplace instructions, including job sheets, plans, drawings and designs workplace procedures relating to reporting and communications manufacturer instructions for the use of equipment and materials |
| Tools and equipment include: | straight edge tape measure chalk-line hammer utility knife notched trowel wall trimmer cushion back cutter loop pile cutter laser measuring device bar scriber |
| Materials include: | finishing trims, angles and joining tapes |
| Adhesives include: | plasticised and rubber resin acrylic water, solvent-based and solvent-free adhesives solvent-based contact adhesive two-part polyurethane |
| Underlays include: | rubber bonded foam styrene-butadiene rubber (SBR) latex foam |

# Unit Mapping Information

Supersedes and is equivalent to LMFFL3206A Install synthetic textile floor coverings to sports facilities

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73