# MSFFL3021 Cut and install resilient floor coverings to stairs

Release: 1

MSFFL3021 Cut and install resilient floor coverings to stairs

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers installing resilient floor covering to stairs, stringers and steps, including planning, preparation, cutting, welding, layout and fixing.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Prepare for installation | 1.1 | Applicable work health and safety (WHS), legislative and organisational requirements relevant to cutting and installing resilient floor coverings to stairs are verified and complied with |
|  |  | 1.2 | Instructions and/or plans are read and interpreted to identify process required to complete work tasks |
|  |  | 1.3 | Sub-floor condition is assessed for suitability for installation of resilient floor coverings to stairs |
|  |  | 1.4 | Any remedial work to stairway is carried out |
|  |  | 1.5 | Stairway or step is measured and the required amount of floor covering, including allowances for type of stairs, is calculated and obtained |
|  |  | 1.6 | Underlay, if required, is checked against specified type and fitting |
|  |  | 1.7 | Suitable adhesives, trims and accessories are selected |
|  |  | 1.8 | Tools, equipment and materials are selected and checked prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition |
|  |  | 1.9 | Sequence of work is planned, including the starting point, to ensure efficiency and quality of installation |
| 2 | Set out floor coverings | 2.1 | Resilient floor coverings to be used are checked against work order |
|  |  | 2.2 | Resilient floor coverings are acclimatised according to manufacturer recommendations |
|  |  | 2.3 | Resilient floor coverings for fixing are organised and used in accordance with relevant safety management requirements |
|  |  | 2.4 | Working lines and starting point are established |
|  |  | 2.5 | Pre-form fillet is cut and fitted, if required |
| 3 | Lay resilient floor coverings | 3.1 | Instructions and sequence for laying and fixing is followed |
|  |  | 3.2 | Resilient floor coverings are laid out to meet directional sequence, pattern match, specification requirements, and to minimise waste and joins as appropriate |
|  |  | 3.3 | Patterns are cut as required for stairs and used to accurately and clearly mark resilient floor covering for cutting |
|  |  | 3.4 | Resilient floor coverings are cut to required pattern and shape with minimum waste of materials |
|  |  | 3.5 | Materials for welding and fixing are organised and used in accordance with relevant safety management requirements |
|  |  | 3.6 | Welding and fixing methods, equipment and materials are used following manufacturer instructions |
|  |  | 3.7 | Resilient skirting, reducer and edge strips are set out and installed, as required |
|  |  | 3.8 | Completed installation is checked for flaws in installation and materials and faults rectified following workplace procedures |
| 4 | Complete housekeeping | 4.1 | Unused materials are stored or recycled as required |
|  |  | 4.2 | Tools and equipment are cleaned and stored appropriately |
|  |  | 4.3 | Work area is cleaned and rubbish disposed of appropriately |
|  |  | 4.4 | Workplace documentation is completed |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individuals to demonstrate some discretion, judgement and problem solving |
| Resilient floor coverings include: | homogenous/heterogeneous linoleum sheet encapsulated glass fibre inlaid rotogravure |
| Stairs include: | open newell bullnose steps circular recessed steps open tread box steps kit winder treads |
| Adhesives include: | plasticised and rubber resin acrylic two-part epoxy polyurethane water-based and solvent-based contact adhesive |
| Tools and equipment include: | utility knife with hook, straight and concave blades straight edge square chalk and chalk-line tape measure hacksaw notched trowel hammer seam and edge trimmer recess scriber and pre-formed linoleum recess scribers scribing bar welding gun and accessories hot air gun grooving tool divider pencil cove roller hand roller cove gauging tool roller gas bottle and gun rubber mallet paint brush and bucket spatula knife builder’s pencil contact bucket linoleum trolley liquid seam sealer seam sealer applicator wall trimmer |
| Materials include: | resilient flooring skirting reducing and edge strips welding rod coving accessories tapes pattern paper adhesives |
| Personal protective equipment includes: | that prescribed under legislation, regulations and enterprise policies and practices |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFFL3310A Cut and install resilient floor coverings to stairs

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73