# MSFFL3046 Apply finishes to cork flooring

Release: 1

MSFFL3046 Apply finishes to cork flooring

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers selecting coating systems appropriate for the job, preparing for the work and applying the selected finishes to cork flooring.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify and prepare for work requirements | 1.1 | Applicable work health and safety (WHS), legislative and organisational requirements relevant to the application of finishes are verified and complied with |
|  |  | 1.2 | Instructions and/or plans are read and interpreted to identify process required to complete work tasks |
|  |  | 1.3 | Coating material is selected with regard to durability, longevity, aesthetics, manufacturer recommendations and client expectations |
|  |  | 1.4 | Selected coating materials are assessed as being compatible with each other, with the surface to be finished and with manufacturer recommendations |
|  |  | 1.5 | Tools, equipment and materials are selected and checked prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition |
|  |  | 1.6 | Surface to be finished is inspected and assessed as being ready for coating |
|  |  | 1.7 | Work sequence is planned to ensure efficiency and quality of application |
|  |  | 1.8 | WHS requirements, including isolation, ventilation and other personal protection needs, are observed throughout the work |
| 2 | Apply finishing system | 2.1 | Ventilation is checked before chemical fumes are released, and all WHS requirements are met, including use of personal protective equipment |
|  |  | 2.2 | Environmental protection regulations are complied with |
|  |  | 2.3 | Coating material is applied in accordance with manufacturer recommendations |
|  |  | 2.4 | Recommended drying times between coats are observed |
|  |  | 2.5 | Buffing or sanding between coats, where required, is carried out according to manufacturer recommendations |
|  |  | 2.6 | Final finish meets the requirements of the job |
| 3 | Complete housekeeping | 3.1 | Unused materials are stored or recycled as required |
|  |  | 3.2 | Tools and equipment are cleaned and stored appropriately |
|  |  | 3.3 | Work area is cleaned and rubbish disposed of appropriately |
|  |  | 3.4 | Workplace documentation is completed |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individuals to demonstrate some discretion, judgement and problem solving |
| Cork floor coating materials include: | waxes oils oleoresins one-can methane oils resin solutions epoxy resins two-can epoxy resins two-can polyurethanes moisture curing polyurethanes water-based polyurethanes |
| Tools and equipment include: | orbital sander rotary sander hand sander vacuum cleaner brushes applicators rollers roller tray hammer nail punch spatula |
| Surface inspection includes: | ensuring that surface is free from dust and debris, moisture content is acceptable and stable, and any preservatives, protective coatings or other contaminants are adequately removed |
| Work sequence includes: | preparation inspection coating applications and intermediate steps finalisation acceptance inspection |
| WHS requirements include: | isolation processes, including barriers, tapes and entry access controls breathing support and ventilation extraction systems |
| Application methods include: | rags brushes rollers applicators spatula |
| Personal protective equipment includes: | that prescribed under legislation, regulations and enterprise policies and practices |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFFL3605A Apply finishes to cork flooring

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL3046 Apply finishes to cork flooring

# Modification History

Release 1 - New unit of competency

# Performance Evidence

Interpret work order and locate and apply relevant information

Apply safe handling requirements for equipment, products and materials, including use of personal protective equipment

Identify materials used in the work process

Follow work instructions, operating procedures and inspection processes to:

minimise the risk of injury to self or others

prevent damage to goods, equipment and products

maintain required production output and product quality

Complete a minimum application of two (2) differently based coating/finishing products

Use mathematical ideas and techniques to correctly complete measurements, calculate area and estimate material requirements

Communicate ideas and information to enable confirmation of work requirements and specifications and the reporting of work outcomes and problems, interpret basic plans and follow safety procedures

Avoid backtracking, work flow interruptions or wastage

Work with others and in a team by recognising dependencies and using cooperative approaches to optimise work flow and productivity

# Knowledge Evidence

State or territory WHS legislation, regulations, standards and codes of practice relevant to the application of finishing systems for cork flooring

Organisational and site standards, requirements, policies and procedures for finishing and coating for cork flooring

Methods of floor preparation from basic sanding to finishing sanding and edging

Characteristics of floor finishing for cork flooring in relation to ventilation, moisture content and reaction to change of temperature and relative humidity

Type, characteristics, uses and limitation of coating materials, including manufacturer recommendations

Types and uses of cork floor finishing tools and equipment

Workplace safety systems related to cork floor finishing processes

Work flow in relation to the application of finishes to cork floors

Environmental protection requirements

Established communication channels and protocols

Relevant problem identification and resolution

Appropriate mathematical procedures for estimation and measurement

Procedures for the recording, reporting and maintenance of workplace records and information

# Assessment Conditions

Assessors must:

hold training and assessment competencies as determined by the National Skills Standards Council (NSSC) or its successors

have vocational competency in the furnishing industry at least to the level being assessed with broad industry knowledge and experience, usually combined with a relevant industry qualification

be familiar with the current skills and knowledge used and have relevant, current experience in the furnishing industry.

Assessment methods must confirm consistency of performance over time rather than a single assessment event and in a range of workplace relevant contexts.

Assessment must be by observation of relevant tasks with questioning on underpinning knowledge and, where applicable, multimedia evidence, supervisor’s reports, projects and work samples.

Assessment is to be conducted on single units of competency or in conjunction with other related units of competency. Foundation skills are integral to competent performance in the unit and should not be assessed separately.

Assessment must occur on the job or in a workplace simulated facility with relevant process, equipment, materials, work instructions and deadlines.

Access is required to a realistic finishing requirement, materials, equipment and specifications relevant to the application of finishes to cork flooring.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73