# Assessment Requirements for MSFFL3054 Assess flooring installation sites

Release: 1

Assessment Requirements for MSFFL3054 Assess flooring installation sites

# Modification History

Release 1. Supersedes and is not equivalent to MSFFL2004 Moisture test timber and concrete floors, and, MSFFL3003 Inspect sub-floors.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed a full internal and external site assessment and documented assessment findings for:

1 timber subfloor

1 concrete subfloor.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area

pre-installation inspections:

workplace safety system requirements

work flow

types, characteristics, safe use, maintenance and limitations of tools and equipment

characteristics and requirements of subfloor preparation for different flooring types

type, characteristics and defects of timber and concrete subfloor structures, including the role of moisture and how it impacts installation

how to conduct the following moisture tests on both timber and concrete subfloors in accordance with Australian Standards:

visual inspection for signs of moisture

electrical resistance moisture test on timber flooring, floor joists, bearers and stumps

hygrometer moisture test on concrete flooring

capacitance moisture test on concrete flooring

how to conduct a flatness and falls assessment

inspection items required for timber flooring:

datum line running and checking – relating to floor fall, dips, irregularities and finished floor height in relation to other floor coverings and door clearances

protruding nails

loose metal and other objects

cracked, loose, rotting or damaged boards

insect attack

cross-flow ventilation

inspection items required for concrete flooring:

datum line running and checking

protruding obstacles

cracks or damage (identifying static versus dynamic)

damage to expansion joints

concrete surface for weakness

the presence of concrete sealers and/or surface treatments

existing floor coatings

oil, fats, grease, and/or detergent contamination

transitions to other flooring systems

drainage requirements including falls to drains

ramps

aspects of the internal and external environment that need to be inspected in addition to the subfloor

formats and required inclusions for inspection reports, including:

the type of the inspection completed

testing methods used

inspection findings

suggested remedies to any faults identified

recommendations for floor coverings or finishing.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

floors and environments for assessment

assessment tools, equipment and materials

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73