# Assessment Requirements for MSFFL3056 Polish concrete floors

Release: 1

Assessment Requirements for MSFFL3056 Polish concrete floors

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3047 Polish concrete floors using planetary machines

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

polished 2 concrete subfloors in complete rooms

used all of the following concrete polishing equipment:

single headed

double headed

planetary action

hand grinding and edging machines.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and use of ratios

concrete polishing:

Australian Standards requirements

workplace safety system, including personal protective equipment

work flow

environmental protection and sustainability requirements

floor preparation and cleaning methods

fittings and fixture that need to be removed prior to polishing

types, characteristics, safe use, and limitations of concrete polishing equipment, including:

single headed, double headed and planetary action grinders and/or polishers

dust and/or vacuum systems

diamond abrasives, including half set, full set, different tool bond types

factors that affect the diamond wear

maintenance requirements for planetary machines

types, characteristics, uses and limitations of hand grinding and edging tools

techniques for polishing concrete, the types of problems that may occur and how to avoid and respond

quality indicators for finished concrete floors

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

concrete floors for polishing

equipment, tools and materials to perform tasks in the Performance Evidence

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73