# Assessment Requirements for MSFFL3066 Install linoleum floor coverings

Release: 1

Assessment Requirements for MSFFL3066 Install linoleum floor coverings

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3012 Install linoleum floor coverings.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

installed the following linoleum floor coverings in accordance with job requirements:

pattern scribe, cut, lay and heat-welded linoleum sheet floor coverings using 32mm fillet cove in one sheet to a small area (WC, laundry including heat-welded joins

scribe to skirting boards, cut, flat lay and heat-welded linoleum sheet floor coverings in multiple runs

pattern scribe or scribe, cut, flat lay and butt join seam linoleum sheet floor coverings to one room.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

linoleum floor covering installation:

Australian Standards requirements

workplace safety system requirements

environmental protection and sustainability requirements

how to access manufacturer instructions

work flow

types, characteristics, uses and limitations of linoleum floor coverings and installation adhesives

characteristics and requirements of sub-floor preparation

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

techniques for set out, layout, cutting and installation, the types of problems that may occur and how to avoid and respond, including specific linoleum heat welding techniques

procedures for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations requiring linoleum flooring installations

linoleum flooring

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73