# Assessment Requirements for MSFFL3068 Install resilient floor coverings using custom designs and decorative finishes

Release: 1

Assessment Requirements for MSFFL3068 Install resilient floor coverings using custom designs and decorative finishes

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3014 Install resilient floor coverings using custom designs and decorative finishes.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

cut and laid resilient floor coverings using custom designs and decorative finishes in accordance with job requirements:

1 inlayed custom designed pattern including a circle design and heat welded.

1 feature border coved installation with heat welded external and internal mitres

1 feature welding design of a different colour to the existing floor colour.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

resilient floor covering custom design installation:

Australian Standards requirements

workplace safety system requirements

environmental protection and sustainability requirements

how to access manufacturer instructions

work flow

types, characteristics, uses and limitations of different resilient floor coverings:

homogenous and heterogeneous

linoleum sheet

encapsulated glass fibre

inlaid

characteristics and requirements of subfloor preparation

types, characteristics, uses and limitations of different adhesives, including:

plasticised and rubber resign acrylic

two-part epoxy

water-based and solvent-based contact adhesives

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

techniques for set out, laying, cutting, welding and fixing, the types of problems that may occur and how to avoid and respond

quality indicators for completed work

procedures for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations requiring installation of resilient sheet flooring

resilient sheet flooring

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73