# MSFFL3069 Install rubber floor coverings

Release: 1

MSFFL3069 Install rubber floor coverings

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3016 Install rubber floor coverings.

# Application

This unit describes the skills and knowledge required to set out, cut, lay and fix rubber sheet and tile floor coverings.

This unit applies to flooring technicians installing rubber floor coverings in accordance with pre-determined work orders.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Industry standards and codes of practice within Australia must also be applied. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

N/A

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for installation | 1.1 Identify and follow work health and safety, legislative and organisational requirements 1.2 Read documentation and identify work requirements 1.3 Confirm subfloor suitability for installation consistent with Australian Standards and manufacturer recommendations 1.4 Select adhesives, trims and accessories based on job requirements 1.5 Select and check tools, equipment and materials for suitability, serviceability and safety prior to use 1.6 Plan sequence of work, including the starting point, to ensure efficiency and quality of installation 1.7 Check rubber floor covering against order and acclimatise in accordance with manufacturer recommendations |
| 2. Set out materials | 2.1 Identify and follow instructions and sequence for laying and fixing 2.2 Organise and use rubber floor coverings for fixing in accordance with safety management requirements 2.3 Establish working lines and starting point. |
| 3. Lay resilient floor covering | 3.1 Lay out rubber floor coverings to meet directional sequence, pattern match, specification requirements, minimising waste and joins 3.2 Accurately and clearly mark rubber flooring materials for cutting 3.3 Cut rubber floor covering materials to required shape ensuring minimum waste 3.4 Prepare adhesives and edge strips and/or accessories for use as required 3.5 Use fixing methods and equipment in accordance with manufacturer recommendations 3.6 Inspect finished job and rectify any imperfections in accordance with workplace procedures |
| 4. Complete housekeeping | 4.1 Store and recycle unused materials in accordance with workplace procedures 4.2 Check, clean and store tools and equipment in accordance with workplace procedures 4.3 Clean work area and dispose of rubbish safely 4.4 Accurately complete required workplace documentation |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFFL3016 Install rubber floor coverings.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL3069 Install rubber floor coverings

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3016 Install rubber floor coverings.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

installed the following rubber floors in accordance with job requirements:

1 epoxy rubber tile installation to connecting rooms

1 polyurethane rubber sheet installation to connecting rooms.

# Knowledge Evidence

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

rubber floor covering installation:

Australian Standards requirements

workplace safety system requirements

environmental protection and sustainability requirements

how to access manufacturer instructions

work flow

type, characteristics, uses and limitations of:

rubber floor covering including, sheet and tile, smooth and studded

installation adhesives including, two-part epoxy, acrylic, contact

trims and accessories

characteristics and requirements of subfloor preparation

types, characteristics, safe use, maintenance and limitations of tools and equipment

techniques for set out, laying and cutting, the types of problems that may occur and how to avoid and respond

quality indicators for completed work

procedures for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations requiring rubber flooring installations

rubber flooring

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73