# Assessment Requirements for MSFFL3077 Prepare subfloors for resin flooring systems

Release: 1

Assessment Requirements for MSFFL3077 Prepare subfloors for resin flooring systems

# Modification History

Release 1. New unit.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed the following:

2 patch repairs – patch chipped concrete and static crack repairs to feather edge

2 floor levelling repairs – ramp at door transition and falls to drain

2 in-fills – rebuild expansion joint and install a floor waste

2 crack repairs – chase out, overfill, grind back and infill, sawcut and caulk sealant

2 coves – install arrowhead coving system and smooth edge cove

1 primer to strengthen weak or porous substrate.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

key aspects of state or territory legislation, regulations, standards and codes of practice, including individual technician rights and obligations relating to:

workplace health and safety

consumer law

environmental protection and sustainable use of materials

how to access supplier instructions

mathematical procedures for estimation and measurement, including calculation of area, volumes and use of ratios for mixing

types, uses and limitations of tools and equipment used in substrate repair

characteristics and requirements of suitable subfloor preparation, including different methods and products used to profile, repair, prime and clean

the features and layout of an effective mixing area

taping techniques to protect surfaces that aren’t to be coated, including walls, edges, transitions and boundaries on the floor

personal protective equipment (PPE) and correct usage

techniques for the following, the types of problems that may occur and how to avoid and respond:

measuring out and mixing substrate repair systems, including pigment, fillers and/or aggregate and stir-in additives

applying floor levelers, including brushing, rolling, raking and troweling

identifying when and how to apply a suitable resin primer to strengthen up a weak or porous substrate

applying in-fills, including brushing, trowelling and finishing

applying dynamic crack repair systems, including concrete cutting, trowelling and caulking

applying joint repair systems, including concrete cutting, jackhammering, trowelling and caulking

applying coving, including brushing, trowelling, coving and finishing

quality indicators for repaired substrate

cleaning and storage procedures for PPE, tools, equipment and unused materials

disposal procedures for waste materials

requirements and protocols for recording, reporting and maintaining workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

subfloors requiring repairs as outlined in the Performance Evidence

work orders

tools and equipment to complete tasks in the Performance Evidence, including safety and personal protective equipment

workplace procedures.

The assessor must directly observe each type of repair being made on at least one occasion.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73