# Assessment Requirements for MSFFL3078 Install direct stick timber flooring

Release: 1

Assessment Requirements for MSFFL3078 Install direct stick timber flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3031 Install direct stick timber flooring.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed 3 installations of solid timber product to complete rooms in accordance with job requirements, with at least 1 of each of the following:

direct stick to timber

direct stick to concrete.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

direct stick timber flooring:

Australian Standards requirements

workplace safety system requirements

work flow

environmental protection and sustainability requirements

how to access manufacturer instructions

types, characteristics, uses and limitations of:

direct stick timber flooring

installation adhesives, including polyvinyl alcohol (PVA), epoxies, polyurethane elastomeric

characteristics and requirements of subfloor preparation

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

techniques for set out, laying, cutting and fixing, the types of problems that may occur and how to avoid and respond, including basic wood working techniques

quality indicators for completed work

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

location requiring direct stick timber installation

direct stick timber

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73