# MSFFL3081 Install block parquetry flooring

Release: 1

MSFFL3081 Install block parquetry flooring

# Modification History

Release 1. Supersedes and is not equivalent to MSFFL3033 Install bock parquetry flooring, and, MSFFL3035 Install patterned parquetry flooring.

# Application

This unit describes the skills and knowledge required to prepare, set out, cut and install block parquetry flooring in domestic and commercial sites. It includes patterned parquetry.

This unit applies to flooring technicians working in accordance with pre-determined work orders.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Industry standards and codes of practice within Australia must also be applied. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

N/A

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for work | 1.1 Identify and follow work health and safety, legislative and organisational requirements 1.2 Correctly identify work requirements and process from review of documentation 1.3 Confirm subfloor condition as suitable for installation consistent with Australian Standards and manufacturer recommendations 1.4 Select and check tools, equipment and materials prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition 1.5 Remove or undercut skirting boards or cover trims if required and store for re-fitting in accordance with work requirements 1.6 Plan sequence of work, including the position of each expansion joint, to ensure efficiency and quality of installation |
| 2. Set out block parquetry flooring | 2.1 Inspect timber flooring material and check against work orders, ensuring the species, grade, size and quantity are correct 2.2 Moisture check timber using required equipment and confirm suitability of moisture content for site conditions as per pre-site inspection procedures 2.3 Organise and use block parquetry flooring for fixing in accordance with safety management requirements 2.4 Prepare required adhesives and edge strips in accordance with manufacturer instructions 2.5 Accurately measure area to be covered, and establish working lines and starting point |
| 3. Lay out and cut parquetry blocks | 3.1 Follow instructions and sequence for laying and fixing 3.2 Lay appropriate underlay in accordance with manufacturer recommendations 3.3 Lay out block parquetry flooring to meet directional sequence, pattern match, specification requirements, and to minimise waste and joins 3.4 Maximise the aesthetics of the materials, including matching grains and colours 3.5 Accurately and clearly mark parquetry blocks for cutting 3.6 Cut parquetry blocks, to provide appropriate size and shape ensuring minimum waste |
| 4. Install block parquetry | 4.1 Use required adhesives and edge strips/accessories in accordance with manufacturer instructions 4.2 Use fixing methods and equipment following manufacturer recommendations 4.3 Install and fix parquetry to produce required pattern 4.4 Allow for appropriate field and perimeter expansion joints 4.5 Fit and/or re-fit and finish skirting boards or cover trims 4.6 Inspect finished job and rectify any imperfections following workplace procedures |
| 5. Complete housekeeping | 5.1 Store and recycle unused materials in accordance with workplace procedures 5.2 Check, clean and store tools and equipment in accordance with workplace procedures 5.3 Clean work area and dispose of rubbish safely 5.4 Accurately complete required workplace documentation |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency

# Unit Mapping Information

No equivalent unit.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL3081 Install block parquetry flooring

# Modification History

Release 1. Supersedes and is not equivalent to MSFFL3033 Install bock parquetry flooring, and, MSFFL3035 Install patterned parquetry flooring.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

installed 2 block parquetry floors to complete rooms in accordance with job requirements, as follows:

1 block floor with a straight or square pattern

1 block floor with herringbone pattern.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

block and patterned parquetry flooring:

Australian Standards requirements

workplace safety system requirements

work flow

environmental protection and sustainability requirements

how to access manufacturer instructions

types, characteristics, uses and limitations of patterned and mosaic parquetry

characteristics and requirements of subfloor preparation

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

techniques for set out, laying, cutting and installation, the types of problems that may occur and how to avoid and respond, including basic wood working techniques

quality indicators for completed work

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations requiring parquetry installations

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73