# MSFFL3083 Install patterned and mosaic parquetry flooring

Release: 1

MSFFL3083 Install patterned and mosaic parquetry flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3036 Install mosaic parquetry flooring.

# Application

This unit describes the skills and knowledge required to prepare, set out, cut and install mosaic and panel parquetry in domestic and commercial sites.

This unit applies to flooring technicians working in accordance with pre-determined work orders.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Industry standards and codes of practice within Australia must also be applied. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

N/A

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for work | 1.1 Identify and follow work health and safety, legislative and organisational requirements 1.2 Correctly identify work requirements and process from review of documentation 1.3 Confirm subfloor suitability for installation consistent with Australian Standards and manufacturer recommendations 1.4 Select and check tools, equipment and materials prior to use to ensure that they are appropriate for the work, serviceable and in a safe condition 1.5 Remove or undercut skirting boards or cover trims, and store for re-fitting in accordance with work requirements 1.6 Plan sequence of work, and starting point, to ensure efficiency and quality of installation |
| 2. Set out mosaic parquetry flooring | 2.1 Inspect timber flooring material and confirm species, grade, size and quantity against work orders 2.2 Moisture check timber using required equipment and confirm suitability of moisture content for site conditions as per pre-site inspection procedures 2.3 Organise block parquetry flooring for fixing and use in accordance with safety management requirements 2.4 Prepare required adhesives and edge strips in accordance with manufacturer instructions 2.5 Accurately measure area to be covered and establish working lines and starting point |
| 3. Lay out and cut parquetry mosaic fingers | 3.1 Follow instructions and sequence for laying and fixing 3.2 Lay appropriate underlay in accordance with manufacturer recommendations 3.3 Lay out block parquetry flooring to meet directional sequence, pattern match, specification requirements, minimising waste and joins 3.4 Maximise the aesthetics of the materials, including matching grains and colours 3.5 Accurately and clearly mark parquetry fingers or panels for cutting 3.6 Cut parquetry fingers or panels to provide appropriate size and shape ensuring minimum waste |
| 4. Install parquetry | 4.1 Use required adhesives and edge strips and/or accessories in accordance with manufacturer instructions 4.2 Follow manufacturer recommendations for fixing methods and equipment 4.3 Install and fix parquetry to produce required pattern 4.4 Allow appropriate field and perimeter expansion joints 4.5 Fit and/or re-fit skirting boards or cover trims and finish 4.6 Inspect finished job and rectify any imperfections following workplace procedures |
| 5. Complete housekeeping | 5.1 Store and recycle unused materials in accordance with workplace procedures 5.2 Check, clean and store tools and equipment in accordance with workplace procedures 5.3 Clean work area and dispose of rubbish safely 5.4 Accurately complete required workplace documentation |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency

# Unit Mapping Information

Supersedes and is equivalent to MSFFL3036 Install mosaic parquetry flooring.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73