# Assessment Requirements for MSFFL3084 Install sprung timber flooring

Release: 1

Assessment Requirements for MSFFL3084 Install sprung timber flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3037 Install sprung timber flooring.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

installed 1 type of sprung timber sports floor as part of a team in accordance with job requirements, demonstrating a minimum of 20m² as the lead installer for the:

subfloor system

flooring installation.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

sprung timber sports flooring installation:

Australian Standards requirements

workplace safety system requirements

environmental protection and sustainability requirements

manufacturer recommendations

work flow in relation to flooring installation operations

mathematical procedures for estimation and measurement

characteristics and requirements of subfloor preparation

types, characteristics, uses and limitations of sprung timber sports flooring, including:

strip tongue and groove

parquetry floating floors

manufactured engineered flooring used for indoor sporting applications

types, characteristics, uses and limitations of installation adhesives, including:

polyvinyl alcohol (PVA)

polyurethane elastomeric

uses, characteristics, and limitations of rubber and neoprene underfloor pads

types, characteristics, safe use, maintenance and limitations of tools, equipment and materials

techniques for set out, cutting and laying, the types of problems that may occur and how to avoid and respond

basic wood working techniques

quality indicators for completed work

procedures for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations requiring installation of sprung timber floors

sprung timber flooring materials

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73