# Assessment Requirements for MSFFL3086 Repair timber flooring

Release: 1

Assessment Requirements for MSFFL3086 Repair timber flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFFL3040 Repair timber flooring.

# Performance Evidence

## There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed repairs involving removing and replacing at least 1 of each of the following:

a direct stick solid or engineered board that utilises a tongue and groove or click profile joint

a solid tongue and groove or engineered board installed over battens

a floating installation.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area and estimation of material requirements

repair of timber flooring:

Australian Standards requirements

workplace safety system requirements

environmental protection and sustainability requirements

how to access manufacturer instructions

work flow

types, characteristics, and limitations of timber floors

causes of imperfections and damage to timber flooring

techniques and requirements for determining causes of damage:

moisture testing

ventilation checking and requirements

structural checking

pest inspection

types and uses of tools and equipment used during the repairing of timber flooring

characteristics of timber and concrete subfloors

quality indicators for completed work

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

timber flooring for repair

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73