# Assessment Requirements for MSFFL3090 Apply water-based coatings to timber flooring

Release: 1

Assessment Requirements for MSFFL3090 Apply water-based coatings to timber flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3024 Apply water-based coatings to timber flooring.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

applied water-based coatings in accordance with job requirements to 2 complete rooms:

used 2 different products

applied coating to 2 different timber species.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area

water-based coating application:

Australian Standards requirements

workplace safety systems

work flow

environmental protection and sustainability requirements

methods of, and requirements for, timber floor preparation - basic sanding, finishing sanding and edging

type, characteristics, uses and limitations of different water-based products in relation to:

aesthetic quality

durability and longevity

ventilation and other safety requirements

moisture content

reaction to change of temperature and relative humidity

manufacturer recommendations

characteristics, safe use, maintenance and limitations of finishing tools and equipment

techniques for application, the types of problems that may occur and how to avoid and respond

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

floors requiring finishing

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73