# MSFFL3090 Apply water-based coatings to timber flooring

Release: 1

MSFFL3090 Apply water-based coatings to timber flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3024 Apply water-based coatings to timber flooring.

# Application

This unit describes the skills and knowledge required to select water-based coating systems appropriate for the job, prepare for the work and apply the selected coatings to timber and parquetry floors.

This unit applies to flooring technicians working in accordance with pre-determined work orders.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking flooring work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

N/A

# Unit Sector

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Identify and prepare for work requirements | 1.1 Identify and follow work health and safety, legislative and organisational requirements 1.2 Read work documentation and identify job requirements 1.3 Select coating material based on product qualities and client expectations 1.4 Assess selected coating materials are compatible with each other, with the surface to be finished and with manufacturer recommendations 1.5 Select and check tools, equipment and materials for suitability, serviceability and safety prior to use 1.6 Inspect and confirm readiness of surface to be finished, and erect barrier signs to coating area 1.7 Plan sequence of work to ensure efficiency and quality of application |
| 2. Apply finishing system | 2.1 Check ventilation before chemical fumes are released, and confirm all work health and safety and environmental protection requirements are met 2.2 Apply coating material in accordance with manufacturer recommendations 2.3 Observe recommended drying times between coats 2.4 Buff and sand between coats in accordance with manufacturer recommendations 2.5 Check final finish against quality and job requirements, and rectify deficiencies 2.6 Provide required floor maintenance instructions and warranty provisions to the client in accordance with workplace procedures. |
| 3. Complete housekeeping | 3.1 Store and recycle unused materials in accordance with workplace procedures 3.2 Check, clean and store tools and equipment in accordance with workplace procedures 3.3 Clear and clean work area and dispose of rubbish safely 3.4 Accurately complete required workplace documentation |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFFL3024 Apply water-based coatings to timber flooring.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL3090 Apply water-based coatings to timber flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3024 Apply water-based coatings to timber flooring.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

applied water-based coatings in accordance with job requirements to 2 complete rooms:

used 2 different products

applied coating to 2 different timber species.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

mathematical procedures for estimation and measurement, including calculation of area

water-based coating application:

Australian Standards requirements

workplace safety systems

work flow

environmental protection and sustainability requirements

methods of, and requirements for, timber floor preparation - basic sanding, finishing sanding and edging

type, characteristics, uses and limitations of different water-based products in relation to:

aesthetic quality

durability and longevity

ventilation and other safety requirements

moisture content

reaction to change of temperature and relative humidity

manufacturer recommendations

characteristics, safe use, maintenance and limitations of finishing tools and equipment

techniques for application, the types of problems that may occur and how to avoid and respond

procedures and protocols for the recording, reporting and maintenance of workplace records and information.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

floors requiring finishing

equipment, tools and materials to complete tasks in the Performance Evidence, including safety and personal protective equipment

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73