# MSFFL3103 Install soft carpet underlay and grippers

Release: 1

MSFFL3103 Install soft carpet underlay and grippers

# Modification History

Release 1. Supersedes and is equivalent to MSFFL2036 Install soft carpet underlays and gripper accessories. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Application

This unit describes the skills and knowledge required to prepare to install and install soft carpet underlay, carpet gripper strips and gripping edging trims, in preparation for the installation of carpet on concrete and timber subfloors and non-complex stairs.

Workers with this competency undertake routine tasks on residential and non-residential/commercial sites according to job instructions including plans and specifications and workplace procedures using discretion, judgement and problem-solving to identify and resolve routine issues. They work with a high degree of self-direction under routine supervision, and they are responsible for their output.

The work described in this unit may require a licence or certification in some jurisdictions, and state or territory authorities should be consulted to determine the current status. Workers on construction sites are required by law to complete induction training. They must also comply with relevant legislation, regulations, Australian Standards, codes and manufacturer installation instructions.

# Competency Field

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to install soft carpet underlay and grippers | 1.1 Interpret underlay and gripper strips and metal moulding installation requirements from job and manufacturer instructions and calculate the quantities of materials required 1.2 Identify hazards relating to the work site, work practices, materials, tools and equipment, and check risk treatments are in place and operating 1.3 Select and check all required tools and equipment are ready to use, and organise to fix any deficiencies according to workplace procedures 1.4 Gather underlay, gripper strips, gripping edging trims and other materials required by job instructions, and check they meet quality requirements and are prepared and ready to install according to manufacturer instructions 1.5 Confirm the subfloor and stairs are clean and suitable for installing the underlay and grippers, and fix or report any deficiencies according to workplace procedures |
| 2. Cut, fit and fasten soft carpet underlay and grippers | 2.1 Measure, mark and cut gripper strips to length and size to minimise waste, according to manufacturer instructions 2.2 Fasten gripper strips using mechanical fixings and adhesive according to the manufacturer instructions, product labels, safety data sheets and workplace procedures 2.3 Fit gripper edging trims and moulding at thresholds and abutments to other flooring surfaces using mechanical fixings and adhesive according to the manufacturer instructions, product labels, safety data sheets and workplace procedures 2.4 Measure, mark and cut underlay to length and size to minimise waste, according to manufacturer instructions 2.5 Trim off excess and finish installing underlay to meet quality requirements 2.6 Check the underlay and gripper strips are installed correctly according to job instructions and quality requirements, and fix any deficiencies |
| 3. Complete the task according to workplace procedures | 3.1 Clean up the work area, identify items for recycling and dispose of waste 3.2 Identify, tag and report any damage to equipment and tools 3.3 Check, clean and do routine maintenance on equipment and tools and store them and unused materials 3.4 Complete task outcome documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFFL2036 Install soft carpet underlays and gripper accessories.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL3103 Install soft carpet underlay and grippers

# Modification History

Release 1. Supersedes and is equivalent to MSFFL2036 Install soft carpet underlays and gripper accessories. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to install according to job instructions:

soft carpet underlay and grippers in two complete rooms:

one of which has a timber subfloor

one of which has a concrete subfloor

either or both of which have at least one obstruction and at least one irregular angle

internal and external mitres to nap locks in at least one installation

at least one multi-purpose trim in at least one installation

soft carpet underlay and grippers to:

a box step stairway with at least three steps

a kite winder treads stairway with at least three steps.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

manufacturer installation instructions and the relevant Australian standards for:

soft carpet underlay including single fibre, composite fibre, foam rubber and bonded foam underlay

gripper strips

gripping edging trims

the safe and correct use of, and maintenance requirements for tools and equipment for, installing underlay and grippers

the most common issues that can arise when installing underlay and grippers and how to avoid and respond to them

workplace policies and procedures relevant to their job role and responsibilities including for:

installing underlay and grippers

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment and safety data sheets

work planning

how to identify if a subfloor and stairs are suitable for installing underlay and grippers

how to identify if carpet underlay and grippers are installed correctly.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations in which to install underlay and grippers

underlay, gripper strips, gripping edging trims and other materials required by job instructions

equipment and tools required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73