# MSFFL3105 Install laminate and hybrid vinyl flooring

Release: 1

MSFFL3105 Install laminate and hybrid vinyl flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL2039 Install laminate flooring. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Application

This unit describes the skills and knowledge required to install laminate and hybrid vinyl flooring including flooring of composite materials intended for floating installation: that is, products that are not recommended for direct fixing.

Workers with this competency undertake routine tasks on residential and non-residential/commercial sites according to job instructions and workplace procedures using discretion, judgement and problem-solving to identify and resolve routine issues. They work with a high degree of self-direction under routine supervision, and they are responsible for their output.

The work described in this unit may require a licence or certification in some jurisdictions, and state or territory authorities should be consulted to determine the current status. Workers on construction sites are required by law to complete induction training. They must also comply with relevant legislation, regulations, Australian Standards, codes and manufacturer installation instructions.

# Competency Field

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to install laminate and hybrid vinyl flooring | 1.1 Read and interpret laminate and hybrid vinyl flooring installation requirements from job and manufacturer instructions and calculate the quantities of materials required 1.2 Identify hazards relating to the work site, work practices, materials, tools and equipment, and check risk treatments are in place and operating 1.3 Select and check all required tools and equipment are ready to use, and organise to fix any deficiencies according to workplace procedures 1.4 Gather the flooring, underlay, adhesives, trims and other materials required by job instructions, and check they meet quality requirements and are prepared and ready to install according to manufacturer instructions, product labels and safety data sheets 1.5 Confirm the subfloor is clean and suitable for installing the flooring, and fix or report any deficiencies according to workplace procedures 1.6 Remove or undercut door jambs, cover trims and other joinery, and store for refitting or send for machining according to job instructions |
| 2. Cut, fit and fasten the laminate and hybrid vinyl flooring | 2.1 Install appropriate underlay if required according to manufacturer instructions 2.2 Establish the starting point and mark out working lines 2.3 Lay out the flooring pieces according to job instructions to maximise aesthetics with respect to material colours, grains and patterns and to minimise waste and joins, and to ensure an efficient, quality installation 2.4 Measure, mark and cut the flooring pieces to length and size 2.5 Install the flooring according to the manufacturer instructions, allowing appropriate field and perimeter expansion joints 2.6 Trim off excess, install finishing strips, refit removed items and finish installing the flooring to meet quality requirements 2.7 Check the flooring is installed correctly according to job instructions and quality requirements, and fix any deficiencies |
| 3. Complete the task according to workplace procedures | 3.1 Clean up the work area, identify items for recycling and dispose of waste 3.2 Identify, tag and report any damage to equipment and tools 3.3 Check, clean and do routine maintenance on equipment and tools and store them and unused materials 3.4 Complete task outcome documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFFL2039 Install laminate flooring.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFL3105 Install laminate and hybrid vinyl flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL2039 Install laminate flooring. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to complete according to job instructions:

at least two installations including:

at least one with hybrid vinyl flooring

at least one with laminate flooring

each of which includes:

a hallway with at least one complete room

an area with an obstacle that requires the flooring to be laid around it (such as an island bench or column)

intermediate or expansion/compartmentalisation trims

finishing trims.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

manufacturer installation and use instructions for:

laminate and hybrid vinyl flooring

underlays for laminate and hybrid vinyl flooring

adhesives for fastening laminate and hybrid vinyl flooring, including polyvinyl alcohol (PVA), epoxy and polyurethane elastomeric

the safe and correct use of, and maintenance requirements for tools and equipment for, installing laminate and hybrid vinyl flooring

the most common issues that can arise when installing laminate and hybrid vinyl flooring and how to avoid and respond to them, including differences between the expansion and contraction of the flooring materials

workplace policies and procedures relevant to their job role and responsibilities including for:

installing laminate and hybrid vinyl flooring

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment and safety data sheets

work planning

how to identify if a subfloor is suitable for installing laminate and hybrid vinyl flooring

how to identify if laminate and hybrid vinyl flooring are installed correctly.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations in which to install laminate and hybrid vinyl flooring

laminate and hybrid vinyl flooring, underlay, adhesives, trims and other materials required by job instructions

equipment and tools required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73