# Assessment Requirements for MSFFL3106 Establish and maintain safe flooring installation work areas

Release: 1

Assessment Requirements for MSFFL3106 Establish and maintain safe flooring installation work areas

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3053 Establish and maintain a safe flooring technology work environment. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to identify, analyse and respond to safety requirements and risks in order to establish and maintain at least one safe flooring installation work area.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

common hazards in a flooring technology work environment and their likelihood and consequences, including:

dust inhalation

falls

flying debris

fume inhalation

lack of control during pouring

machine safety

power sources and leads

trips

vibration

common risk treatments, including:

debris protection measures, including machine guards, skirts, safe distances and access controls

dust and fume extraction systems

isolation strategies (such as testing, safe distances, barriers, entry limits and signage)

personal protective equipment

pour protection (such as area sealing and plugs)

power source protection (such as earth leakage and coded leads)

workplace policies and procedures relevant to their job role and responsibilities including for:

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment and safety data sheets

work planning

how to identify if a safe flooring materials installation work area has been established and maintained.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a flooring installation work needing to be established and maintained as safe

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73