# Assessment Requirements for MSFFL3109 Install carpet tiles

Release: 1

Assessment Requirements for MSFFL3109 Install carpet tiles

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3059 Install carpet tiles. Changes to application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to complete according to job instructions:

at least three installations that include:

at least two full-spread installations

at least one:

pressure-sensitive adhesive installation

low-adhesive adhesive installation

hallway with multiple connecting rooms

site link-up around a central core

custom design requirement

instance of a multi-directional pattern or border

a carpet tile installation — where the stairs have been adequately prepared — on a box step stairway with at least three steps, including appropriate stair nosing.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

manufacturer installation instructions and the relevant Australian standards for carpet tiles including:

backed or un-backed

fixed or un-fixed

wool

synthetic or combination of fibres

pile

needle-punch

tufted

fusion bonded and woven

modular and square to one metre

tiles of various sizes and shapes including square, rectangular, hexagonal and diamond

manufacturer use instructions for adhesives for fastening carpet tiles including:

low adhesive adhesives

pressure sensitive and wet acrylic adhesives

water and solvent-based contact adhesives

appropriate adhesives for and types of dual bond underlay systems

manufacturer installation instructions and the relevant Australian standards for finishing strips

the safe and correct use of, and maintenance requirements for tools and equipment for, installing carpet tiles

the most common issues that can arise when installing carpet tiles and how to avoid and respond to them

workplace policies and procedures relevant to their job role and responsibilities including for:

installing carpet tiles

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment and safety data sheets

work planning

how to identify if a subfloor is suitable for installing carpet tiles

how to identify if carpet tiles are installed correctly.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations in which to install carpet tiles

carpet tiles, adhesives, finishing strips and other materials required by job instructions

equipment and tools required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73