# Assessment Requirements for MSFFL3110 Install adhesive-fixed carpet

Release: 1

Assessment Requirements for MSFFL3110 Install adhesive-fixed carpet

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3060 Install adhesive-fixed carpet. Changes to application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to install according to job instructions:

tufted or woven carpet using the direct stick method to connecting rooms at least once, including at least one cross join and one seam join

tufted or woven carpet on adhesive fixed underlay using the dual-bond carpet method to connect rooms at least once, including at least one cross join, one seam join using heat bond tape and one box step

the carpet — where the stairs have been adequately prepared — on:

a box step stairway with at least three steps

a kite winder treads stairway with at least three steps

a bullnose step.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

manufacturer installation and use instructions and the relevant Australian standards for:

tufted carpet

fusion-bonded carpet

woven carpet

needle-punched carpet

PVC-backed carpet

fibrous, bonded-foam and recycled-rubber underlays

plasticised and rubber resin acrylic adhesives

water and solvent-based adhesives

solvent-based contact adhesive

the safe and correct use of, and maintenance requirements for tools and equipment for, installing adhesive-fixed carpet

the most common issues that can arise when installing adhesive-fixed carpet and how to avoid and respond to them

workplace policies and procedures relevant to their job role and responsibilities including for:

installing adhesive-fixed carpet

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment, safety data sheets and ventilation

work planning

how to identify if a subfloor is suitable for installing adhesive-fixed carpet

how to identify if adhesive-fixed carpet is installed correctly.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations in which to install the adhesive-fixed carpet

underlay, carpet, adhesives, trims and other materials required by job instructions

equipment and tools required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73