# Assessment Requirements for MSFFL3115 Install commercial sheet vinyl flooring

Release: 1

Assessment Requirements for MSFFL3115 Install commercial sheet vinyl flooring

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3067 Complete large scale and complex vinyl flooring installations. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to complete according to job instructions:

at least four vinyl sheet flooring installations — two using heterogeneous vinyl sheet and two using homogeneous vinyl sheet — that cover at least once, in any combination:

all of the following installation types:

cove installation

flat installation

stair installations with a metal stair nosing

all of the following characteristics:

pencil cove

cove fillet

border cove

internal and external mitred corners

more than two widths of vinyl

hallway or passage with connecting room

all the following techniques:

trimming selvedges

bar scribing

direct scribing

template scribing

under scribing

pattern matching

heat weld joins

cold (chemical) weld joins.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

the characteristics of box and recessed steps

manufacturer installation instructions and the relevant Australian standards for vinyl sheet flooring including:

homogenous vinyl sheet

heterogeneous vinyl sheet (including encapsulated glass fibre)

manufacturer use instructions for adhesives for fastening vinyl sheet flooring including:

water-based acrylic

two-part epoxy

two-part polyurethane

single pack polyurethane

water-based and solvent-based contact adhesive

the safe and correct use of, and maintenance requirements for tools and equipment for, installing vinyl sheet flooring

the most common issues that can arise when installing vinyl sheet flooring and how to avoid and respond to them

workplace policies and procedures relevant to their job role and responsibilities including for:

installing vinyl sheet flooring

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment and safety data sheets

work planning

how to identify if a subfloor is suitable for installing vinyl sheet flooring

how to identify if vinyl sheet flooring is installed correctly.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations in which to install vinyl sheet flooring

vinyl sheet flooring, adhesives and finishing, joining and other materials required by job instructions

equipment and tools required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73