# MSFFL3122 Fine sand timber floors

Release: 1

MSFFL3122 Fine sand timber floors

# Modification History

Release 1. Supersedes and is equivalent to MSFFL3095 Fine sand timber flooring. Changes to title, application, elements and performance criteria to improve clarity and consistency across MSFFL units. Changes to assessment requirements.

# Application

This unit describes the skills and knowledge required to prepare for work and fine sand existing floors either after coarse sanding, where only minor rectification of scratches or wear and tear has occurred, or between coats. It involves operating rotary sanding machines.

Workers with this competency undertake routine tasks on residential and non-residential/commercial sites according to job instructions and workplace procedures using discretion, judgement and problem-solving to identify and resolve routine issues. They work with a high degree of self-direction under routine supervision, and they are responsible for their output.

The work described in this unit may require a licence or certification in some jurisdictions, and state or territory authorities should be consulted to determine the current status. Workers on construction sites are required by law to complete induction training. They must also comply with relevant legislation, regulations, Australian Standards, codes and manufacturer installation instructions.

# Competency Field

Flooring technology

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to fine sand timber floors | 1.1 Interpret sanding requirements from job instructions 1.2 Inspect the floor to determine its suitability for fine sanding, considering its moisture content and any contamination, and identify and complete pre-sanding requirements according to the Australian standard 1.3 Assess the condition of the floor, and determine the extent of fine sanding required to satisfy the job instructions 1.4 Identify hazards and ensure dust containment strategies and other risk treatments are in place and operating 1.5 Select and check the sanding machines and other required equipment and tools are ready to use, and organise to fix any deficiencies according to workplace procedures 1.6 Gather sanding belts and papers and other materials required by job instructions, and check they meet quality requirements and are ready to use according to manufacturer instructions |
| 2. Operate sanding machinery to fine sand the floor | 2.1 Set up, check and adjust the safety and other features of sanding machines according to manufacturer instructions 2.2 Conduct trial runs to check the operations of the sanding machines and the quality of the finished work 2.3 Operate the sanding machines to sand the floor following a systematic pattern to maximise efficiency and achieve job instructions 2.4 Select, attach, routinely check and change sanding discs, pads and sheets to ensure a quality finish 2.5 Continually monitor the sanding machines to ensure their motors are running within the manufacturer safe operating limits and there are no apparent electrical faults, and fix deficiencies and ensure adjustments as required 2.6 Check the floor is sanded correctly according to job instructions and quality requirements, and fix any deficiencies |
| 3. Complete the task according to workplace procedures | 3.1 Store and recycle unused materials according to workplace procedures 3.2 Check, clean and store tools and equipment according to workplace procedures 3.3 Clean work area and dispose of rubbish safely 3.4 Accurately complete required workplace documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSFFL3095 Fine sand timber flooring.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73