# Assessment Requirements for MSFFL3125 Mix and apply thin-set terrazzo

Release: 1

Assessment Requirements for MSFFL3125 Mix and apply thin-set terrazzo

# Modification History

Release 1. New unit.

# Performance Evidence

There must be evidence the candidate has completed the tasks in the elements and performance criteria of this unit of competency and has demonstrated the ability to mix, install, and finish according to job instructions thin-set terrazzo on at least two occasions, with at least one occasion to include a control joint.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

manufacturer instructions for mixing terrazzo materials

the safe and correct use of, and maintenance requirements for tools and equipment for, mixing and installing thin-set terrazzo

the most common issues that can arise when mixing and installing thin-set terrazzo and how to avoid and respond to them

workplace policies and procedures relevant to their job role and responsibilities including for:

mixing and installing thin-set terrazzo

communication and reporting

environmental protection and sustainability, including maximising resource utilisation and minimising waste

quality indicators for completed work and process improvements

work health and safety, including the use of personal protective equipment and safety data sheets

work planning

how to identify if a substrate is suitable for installing thin-set terrazzo

how to identify if thin-set terrazzo is installed correctly.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

locations with prepared substrates in which to apply thin-set terrazzo

terrazzo materials, floor divider strips and other materials required by job instructions

equipment and tools required for the activities set out in the elements and performance criteria, including those to control hazards

job instructions and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73