# MSFFM3041 Determine and document requirements for cabinetry installation

Release: 1

MSFFM3041 Determine and document requirements for cabinetry installation

# Modification History

Release 1. Changes to code, application, elements, performance criteria, assessment requirements. Foundation skills added. Range of conditions removed. Assessment requirements changed.

# Application

This unit describes the skills and knowledge required to conduct onsite assessment of spatial and other requirements for the installation of fitted cabinetry. This includes assessment of overall site, walls, floors, appliances, services and other structural components in addition to taking detailed and precise measurements. Cabinetry may be custom-made or mass manufactured.

Cabinet installers with this competency follow procedures, using discretion, judgement and problem solving to identify and resolve potential installation issues. Installers may or may not be involved in the actual construction of cabinetry.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking kitchen and bathroom work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Competency Field

Cabinetry and furniture

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Assess overall installation site | 1.1 Review project brief and design documentation and identify site aspects to be assessed 1.2 Arrange site access with client in accordance with workplace procedures 1.3 Identify and follow site work health and safety procedures when making onsite inspections 1.4 Determine access requirements for materials and equipment based on site features 1.5 Identify and review other work being undertaken at site for impact on installation work |
| 2. Assess site construction features for impact on cabinetry installation | 2.1 Examine wall and floor construction and features and determine implications for cabinet installation 2.2 Identify and inspect other structural features and determine implications for cabinet installation |
| 3. Assess appliances and services for impact on cabinetry installation | 3.1 Review appliance installation requirements from manuals or physical inspection and determine impact on cabinet installation 3.2 Identify compliance issues and their impact on design and layout and determine appropriate action |
| 4 Obtain measurements | 4.1 Select measuring devices and processes suited to situation 4.2 Take, reconfirm and record accurate measurements of all required site aspects 4.3 Select and use appropriate calculations to obtain required cabinetry dimensions and other relevant information 4.4 Follow workplace requirements for quality assurance requirements and allowable tolerances |
| 5. Document installation requirements | 5.1 Review findings from assessments and determine individual and interrelated implications for cabinetry construction and installation 5.2 Prepare site plan that shows all features and measurements that will affect cabinetry manufacture or installation using established drawing protocols 5.3 Prepare supporting documentation that details other required information to support manufacture and installation process |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Reading skills to interpret unfamiliar design documentation

Writing skills to communicate information in familiar workplace documents

Oral communication skills to liaise with clients and work colleagues on familiar operational matters

Numeracy skills to measure and calculate area, mass, perimeter, volume, scales and ratios.

Other foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

Release 1. Redesigned unit – merges, supersedes and is not equivalent to MSFKB3002 Determine requirements for installation of cabinets, MSFFM3011 Measure and draw site layout for manufactured furniture products and MSFKB3003 Check and measure fit of cabinets.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFFM3041 Determine and document requirements for cabinetry installation

# Modification History

Release 1. Changes to code, application, elements, performance criteria, assessment requirements. Foundation skills added. Range of conditions removed. Assessment requirements changed.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

conduct 2 site assessments and identify issues impacting installation arising from:

overall site condition and access

structure

appliances

services

for each of the above 2 site assessments, produce accurate documentation that includes:

scaled plan and elevation identifying:

all site dimensions

placement and dimensions of all features impacting manufacture and installation

supporting site information to inform manufacture and installation

recognise and respond to 2 different challenges posed by site conditions:

1 structural

1 appliance or services related.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

workplace and site procedures for:

work health and safety

quality assurance

tolerance levels

for fitted cabinetry projects:

planning processes

roles of different trades and when different trade skills are required

typical communication channels and protocols for those involved

processes and technologies used for the construction of fitted cabinetry

characteristics and features of cabinetry products and components

National Construction Code requirements for installation of fitted cabinetry

statutory local and state or territory planning regulations affecting cabinetry installations

basic building and architectural terminology

structural and non-structural components of buildings and their different construction methods that can affect cabinet installation, and how to adapt installation to address common issues with:

floors

walls

beams

ceilings

doors and windows

skirtings

installation requirements and how to address common issues with:

appliances

services:

communications

electricity

gas

ventilation

water

features and use of measuring devices:

tape measures

laser beams

angle readers

rulers

critical dimensions that may affect manufacture and installation:

square of the structure

angles of floor to walls

walls to ceiling

vertical walls

horizontal floor and ceiling

service locations and critical structural criteria

methods to calculate:

area

perimeter

volume

mass

scales and ratios (ingredients/elements and triangulation)

drawing techniques, technologies and processes:

scope of information to be included on site drawings

industry symbols and protocols for the documentation of site features and expression of dimensions

purpose and key provisions of Australian Standard AS1100 and its impact on documentation requirements.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources required for performance evidence, including:

installation site with walls, floors and services

design documentation

service and appliance information

site and workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73