# MSFFM3043 Install cabinetry

Release: 1

MSFFM3043 Install cabinetry

# Modification History

Release 1. Changes to code, application, elements, performance criteria, assessment requirements. Foundation skills added. Range of conditions removed. Assessment requirements changed.

# Application

This unit describes the skills and knowledge required to install custom-made or mass manufactured cabinetry and all associated fixtures and fittings. It requires the ability to complete pre-installation checks, identify site constraints, install products and complete quality checking of finished work.

Cabinet installers with this competency follow established procedures using discretion, judgement and problem solving to install cabinetry and resolve installation issues, often in consultation with others. Installers may or may not have been involved in the actual construction of cabinetry.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Competency Field

Cabinetry and furniture

# Elements and Performance Criteria

| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| --- | --- |
| 1 Prepare for installation | 1.1 Determine installation requirements and sequencing from design and other work documentation 1.2 Select and prepare required tools, equipment and materials based on task requirements 1.3 Complete pre-checks on cabinetry in accordance with workplace procedures 1.4 Identify customer and others involved in installation process and establish communication based on task requirements |
| 2 Identify site conditions and constraints | 2.1 Obtain access to site in accordance with project guidelines and work health and safety requirements 2.2 Identify site safety hazards and take action to reduce risk to self and others 2.3 Identify other on-site characteristics for their impact on the installation process 2.4 Protect site features, fixtures and fittings using suitable coverings prior to start of installation |
| 3 Install products | 3.1 Prepare products and materials to site requirements 3.2 Install products and associated hardware using hand and power tools safely and according to manufacturer instructions 3.3 Take and confirm measurements and levels during process to achieve correct fit and overall installation quality 3.4 Use fixing methods and products according to site conditions and product requirements 3.5 Identify and accommodate services and appliance installation requirements |
| 4 Complete quality checks | 4.1 Inspect edges and lines and confirm fit is level, straight and flush 4.2 Inspect all installed cabinet components and confirm correct alignment 4.3 Confirm that required tolerances have been achieved 4.4 Measure installed cabinet components and check that they comply with spatial and other specifications from design and other work documentation 4.5 Identify installation deficiencies and use problem solving skills to achieve required outcome |
| 5 Finalise installation process | 5.1 Clean work area and dispose of waste safely and in accordance with environmental standards 5.2 Check, clean and store tools and equipment in accordance with workplace procedures 5.3 Seek and document customer approval of completed installation in accordance with workplace procedures 5.4 Complete installation documentation in accordance with workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Reading skills to interpret design documentation

Writing skills to communicate information in familiar workplace documents

Oral communication skills to liaise with others on practical matters as part of the installation process

Numeracy skills to measure and calculate lengths and areas.

Other foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

Release 1. Redesigned unit – merges, supersedes and is not equivalent to MSFFM3006 Install furnishing products, MSFKB3004 Conduct on-site adjustments to cabinets and components and MSFKB3006 Install fitted cabinets and components.

# Links

Companion Volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73