# MSFGG2010 Fabricate and install insect and security screens

Release: 1

MSFGG2010 Fabricate and install insect and security screens

# Modification History

Release 1 - New unit of competency

# Application

This unit of competency covers measuring, fabricating and installing insect screens, heavy-duty security mesh, security doors and window grills using aluminium.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

# Competency Field

# Unit Sector

Glass and Glazing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Plan for work | 1.1 | Work requirements in the form of type of insect or security screen to be fabricated and installed are determined from work instructions, including the identification of its pattern or plan |
|  |  | 1.2 | Work health and safety (WHS) requirements for fabrication and installation of insect or security screens, including personal protective equipment, are observed throughout the work |
|  |  | 1.3 | The suitable process for fabricating and installing insect or security screens is identified |
|  |  | 1.4 | Quantities of materials required are calculated from plans and/or work instructions and/or by measuring the screen opening in accordance with Australian Standards and industry practice |
|  |  | 1.5 | Cutting lists are prepared from plans, work instructions or measurements of opening to suit the type of screen to be installed |
|  |  | 1.6 | Fittings, fixings and joining devices or materials are selected in accordance with specifications or type of materials to be joined or fixed |
|  |  | 1.7 | Tools and equipment appropriate to the work method are identified and assembled for use |
| 2 | Prepare for work | 2.1 | Work sequence is determined in a logical order to suit the job and workplace procedures |
|  |  | 2.2 | Tools, equipment and materials are selected and checked prior to use to ensure they are appropriate for the work, serviceable and in a safe condition |
|  |  | 2.3 | Components of the insect or security screen are checked against specifications or job order for size, quantity, finish and profile |
| 3 | Fabricate and install insect or security screen | 3.1 | Materials are measured and marked to cutting list requirements and most economical use of materials |
|  |  | 3.2 | Materials are cut and stamped to cutting list requirements in accordance with workplace procedures or industry practice |
|  |  | 3.3 | Components of insect or security screen are assembled in accordance with recognised industry standards |
|  |  | 3.4 | Fittings are installed to screen in accordance with workplace procedures or industry practice |
|  |  | 3.5 | Insect or security screen is installed in opening in accordance with recognised industry standards |
| 4 | Complete work | 4.1 | Installed insect or security screen is inspected for quality of work and repaired, re-fabricated or reinstalled, as required, in accordance with workplace procedures |
|  |  | 4.2 | Material which can be reused is collected and stored |
|  |  | 4.3 | Waste and scrap materials are removed for disposal or recycling, as required |
|  |  | 4.4 | Work area is cleaned and rubbish disposed of, as appropriate |
|  |  | 4.5 | Tools, equipment and unused materials are cleaned and removed and stored appropriately |
|  |  | 4.6 | Workplace documentation is completed in accordance with workplace requirements |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individuals to demonstrate some discretion, judgement and problem solving |
| Insect and security screens include: | fixed, sliding and emergency exit grills to suit various commercial and domestic window types sliding and hinged door applications |
| Materials include: | extruded door framing corner stakes interlocks fly mesh heavy-duty security mesh fittings and fixing/fasteners (screws and pop rivets) anti-jemmy protection hardware |
| Fittings include: | hinges wheels lock mechanisms that comply with Australian Standards door closures lock guards |
| Tools and equipment include: | assembly benches drop and up-cut saws pneumatic and manual presses stamping and notching tools copy routers end millers crimpers electric and pneumatic powered drills and screwdrivers pop rivet guns fly screen spline rollers soft rubber mallets knives bolt cutters or mechanical shears |
| Personal protective equipment includes: | that prescribed under legislation, regulation and enterprise policies and practices: gauntlets gloves safety glasses hard hats safety footwear aprons and overalls |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment and personal protective equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures |

# Unit Mapping Information

Supersedes and is equivalent to LMFGG2010C Fabricate and install insect and security screens.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73