# MSFGG3018 Prepare and install architectural engineered glazing

Release: 2

MSFGG3018 Prepare and install architectural engineered glazing

# Modification History

Release 2 - Update of Australian Standards codes.  Statement regarding currency of Australian Standards included in Range of Conditions and Performance Evidence.

Release 1 - New unit of competency

# Application

This unit of competency covers preparing and installing glass in structural and other architectural engineered applications.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking glass and glazing work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Glass and Glazing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify work requirements | 1.1 | Work requirements in the form of type of glass, frames and the method of fixing are identified from work instructions |
|  |  | 1.2 | Work health and safety (WHS) requirements for fabrication and installation of architectural engineered glazing, including personal protective equipment, are identified and observed throughout the work |
|  |  | 1.3 | The process for fabricating and installing architectural engineered glazing is identified |
| 2 | Prepare for work | 2.1 | Work sequence is planned in a logical order to suit the job and workplace procedures |
|  |  | 2.2 | Tools, equipment and materials, other than glass, acrylic glazing products and frames, are selected and checked prior to use to ensure they are appropriate for the work, serviceable and in a safe condition |
|  |  | 2.3 | Type of glass and/or acrylic glazing products to be fitted and frames are selected to match the customer order, requirements for security, noise or light control and relevant Australian Standards |
|  |  | 2.4 | Glass is checked for type, size and imperfections and the appropriate glass fixing method selected to meet specifications |
|  |  | 2.5 | Ladders and scaffolding to comply with the relevant regulations and standards are identified and erected, where required, for the installation |
|  |  | 2.6 | Frame or opening is prepared to receive glass |
|  |  | 2.7 | Fixing and sealing materials are prepared by mixing or cutting to length, as appropriate |
| 3 | Identify site conditions and constraints | 3.1 | Site safety hazards are recognised and corrective action taken to reduce injury to self and others |
|  |  | 3.2 | Any on-site difficulties are identified and addressed in accordance with regulations and enterprise agreements |
|  |  | 3.3 | Special characteristics of the glass aperture are identified in relation to the effect of the glass fitting process on the finished job |
|  |  | 3.4 | Covering material is applied, where necessary, to protect existing fixtures and fittings |
| 4 | Fit glass | 4.1 | Glass and/or acrylic glazing product is fixed to the frame or opening using the selected method and in accordance with recognised Australian and industry standards |
|  |  | 4.2 | Solvents and sealants are used in accordance with manufacturer recommendations and Australian Standards |
|  |  | 4.3 | Excess sealing material is removed and the glass and frame cleaned after fixing |
| 5 | Inspect final product and clean up work area | 5.1 | Completed installation is checked to ensure compliance with customer requirements, specifications and Australian Standards |
|  |  | 5.2 | Work area is cleaned and left in a safe condition and rubbish removed from work area and disposed of in accordance with relevant statutory requirements and enterprise requirements |
|  |  | 5.3 | Any ladders or scaffolding used in the installation are disassembled and removed |
|  |  | 5.4 | Tools, equipment and materials are cleaned and stored following workplace procedures |
|  |  | 5.5 | Waste and scrap material are removed for disposal or recycling, as required |
|  |  | 5.6 | Workplace documentation is completed in accordance with workplace requirements, including calculating the cost of glass, fittings, materials and labour |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individuals to demonstrate some discretion, judgement and problem solving |
| Types of glass include: | annealed glass toughened glass laminated glass wired glass bandit-resistant glass bullet-resistant glass heat-reflective glass solar controlled glass spandral panels |
| Methods of fixing include: | consideration of the specification type of glass and frame security requirements sealing methods relevant Australian Standards glazing methods: beaded pocket flush channel glazing structural glazing |
| Fabricating and installing include: | aluminium glazing systems, including planar assemblies, curtain wall systems, spider assemblies and panel wall systems (hung and stacked) identifying and erecting appropriate ladders and scaffolding |
| Tools and equipment include: | general cutting and glazing tools electric and pneumatic portable power tools saws drills portable compressors |
| Materials include: | all forms of flat glass and acrylic glazing products plastic aluminium steel solid timber gaskets sealants adhesives |
| Preparation includes: | cleaning surface preparation (if required) checking size against specification |
| Personal protective equipment includes: | that prescribed under legislation, regulation and enterprise policies and practices: gauntlets gloves safety glasses hard hats safety footwear aprons and overalls |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment and personal protective equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures Australian Standards: AS 1288:2006 Glass in buildings - Selection and installation AS/NZS 2208:1996 Safety glazing materials in buildings AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass AS 4285:2007 Skylights AS/NZS 4666:2012 Insulating glass units Note, wherever Australia Standards are listed they apply at the time of publication, but the most current version (including amendments) or replacement versions are to be used. |

# Unit Mapping Information

Supersedes and is equivalent to LMFGG3018C Prepare and install architectural engineered glazing.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.education.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73