# MSFGG3019 Conduct commercial and structural re-glazing

Release: 1

MSFGG3019 Conduct commercial and structural re-glazing

# Modification History

Release 1 - New unit of competency

# Application

This of competency unit covers replacing glass in commercial, structural and/or architectural engineered applications.

Licensing, legislative or certification requirements may apply to this unit and relevant state/territory and local government agencies should be consulted to determine any necessary certification or licensing for undertaking glass and glazing work. Access to construction sites requires certification of general induction training specified by the National Code of Practice for Induction for Construction Work (ASCC 2007).

# Pre-requisite Unit

# Competency Field

# Unit Sector

Glass and Glazing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Identify work requirements | 1.1 | Work requirements in the form of type of glass, frames and the method of fixing are identified from work instructions |
|  |  | 1.2 | Work health and safety (WHS) requirements for fabrication and installation of commercial re-glazing, including personal protective equipment, are identified and observed throughout the work |
|  |  | 1.3 | The process for fabricating and installing commercial re-glazing is identified |
| 2 | Prepare for work | 2.1 | Work sequence is planned in a logical order to suit the job and workplace requirements |
|  |  | 2.2 | Tools, equipment and materials, other than glass and frames, are selected and checked prior to use to ensure they are appropriate for the work, serviceable and in a safe condition |
|  |  | 2.3 | Type of glass to be fitted and frames are selected to match the customer order, existing glass type, requirements for security, noise or light control and relevant Australian Standards |
|  |  | 2.4 | Glass fixing method is selected to meet specifications |
|  |  | 2.5 | Glass is checked for type, size and imperfections |
| 3 | Identify site conditions and constraints | 3.1 | Site safety hazards are recognised and corrective action taken to reduce injury to self and others including working at heights and on scaffolding |
|  |  | 3.2 | Other on-site difficulties are recognised and corrective action taken in accordance with regulations and glazing requirements |
|  |  | 3.3 | Covering material is applied, where necessary, to protect existing fixtures and fittings |
|  |  | 3.4 | Special characteristics of the window or door which may affect the finished job are identified and corrective action taken |
| 4 | Prepare frame and materials | 4.1 | Frame condition, if applicable, is assessed to ensure suitability for re-glazing in accordance with customer requirements and Australian Standards |
|  |  | 4.2 | Defective frames are reported for repair or replacement in accordance with workplace procedures |
|  |  | 4.3 | Frame is prepared, if required, to receive glass |
|  |  | 4.4 | Fixing and sealing materials are prepared by mixing or cutting to length, as appropriate |
| 5 | Fit glass | 5.1 | Glass is fixed to the frame using the selected method and in accordance with recognised industry procedures and Australian Standards |
|  |  | 5.2 | Solvents and sealants are used in accordance with manufacturer recommendations and Australian Standards |
|  |  | 5.3 | Excess sealing material is removed and glass and frame cleaned after fixing |
| 6 | Inspect final product and clean up work area | 6.1 | Completed installation is checked to ensure compliance with customer requirements, specifications and Australian Standards |
|  |  | 6.2 | Work area is cleaned and left in a safe condition and rubbish removed from work area and disposed of in accordance with relevant statutory requirements and enterprise requirements |
|  |  | 6.3 | Tools, equipment and materials are cleaned and stored following workplace procedures |
|  |  | 6.4 | Waste and scrap material are removed for disposal or recycling, as required |
|  |  | 6.5 | Workplace documentation is completed in accordance with workplace requirements, including calculating the cost of glass, fittings, materials and labour |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit context includes: | WHS requirements, including legislation, building codes, material safety management systems, hazardous and dangerous goods codes, and local safe operating procedures or equivalent work is carried out in accordance with legislative obligations, environmental legislation, relevant health regulations, manual handling procedures and organisation insurance requirements work requires individuals to demonstrate some discretion, judgement and problem solving |
| Types of glass include: | annealed glass toughened glass laminated glass wired glass bandit-resistant glass bullet-resistant glass heat-reflective glass sputter coated spandral glass |
| Methods of fixing include: | considering the specification type of glass and frame security requirements sealing methods relevant Australian Standards glazing methods: pocket flush channel glazing structural and double glazing |
| Fabrication and installation of commercial re-glazing includes: | work involving the on-site installation or replacement of framed and unframed glass for commercial, structural and other architectural engineered applications. This covers: commercial windows and doors: casement sash awning and double hung windows shopfronts and returns louvres hinged, pivot and sliding doors and windows automatic doors mirrors facetted glazing fin-supported glazing furniture applications showcases sliding tracks and food cabinets curtain walls balustrading structural and suspended glazing overhead glazing toughened glass assemblies aluminium glazing systems, including planar assemblies, curtain wall systems, spider assemblies, panel wall systems (hung and stacked) Armour-view balustrading watertight glazing techniques |
| Tools and equipment include: | glass cutters pliers hack-out knives drills putty knives tape measures scaffolding ladders |
| Materials include: | all forms of flat glass and acrylic glazing products plastic aluminium steel solid timber gaskets sealants structural silicone adhesives |
| Preparation includes: | removing any remains of glass and sealants cleaning surface preparation, if required checking size against specification |
| Personal protective equipment includes: | that prescribed under legislation, regulation and enterprise policies and practices: gauntlets gloves safety glasses hard hats safety footwear aprons and overalls |
| Information and procedures include: | workplace procedures relating to the use of tools and equipment and personal protective equipment work instructions, including job sheets, cutting lists, plans, drawings and designs workplace procedures relating to reporting and communication manufacturer specifications and operational procedures Australian Standards: AS 1288:2006 Glass in buildings - Selection and installation, Section 9 – Framed, unframed and partly framed glass assemblies AS/NZS 2208:1996 Safety glazing materials in buildings AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass |

# Unit Mapping Information

Supersedes and is equivalent to LMFGG3019C Conduct commercial and structural re-glazing.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFGG3019 Conduct commercial and structural re-glazing

# Modification History

Release 1 - New unit of competency

# Performance Evidence

Interpret work order and locate and apply relevant information

Apply safe handling requirements for equipment, products and materials, including use of personal protective equipment

Identify materials used in the work process

Follow work instructions, operating procedures and inspection processes to:

minimise the risk of injury to self or others

prevent damage to goods, equipment and products

maintain required production output and product quality

Safely remove glass from commercial and architectural frames and prepare frame and opening, including clean-up

Measure glass for commercial projects, doors, show and/or food cabinets, including sliding tracks, shopfronts and returns, architectural, curtain wall, structural and/or overhead glazing

Select glass to comply with AS 1288:2006 Glass in buildings - Selection and installation – Section 9

Cut and process glass in accordance with AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass

Work at heights and on scaffolding to the relevant regulations and standards

Apply suitable glazing, structural sealants and tapes

Calculate the cost of glass, fittings, materials  and labour

Use mathematical ideas and techniques to correctly complete measurements, calculate area and estimate material requirements

Communicate ideas and information to enable confirmation of work requirements and specifications and the reporting of work outcomes and problems, interpret basic plans and follow safety procedures

Avoid backtracking, work flow interruptions or wastage

Work with others and in a team by recognising dependencies and using cooperative approaches to optimise work flow and productivity

# Knowledge Evidence

Types, qualities and characteristics of glass, including hazards and handling requirements

Relevant Australian Standards

Techniques, methods, materials and process of commercial and structural re-glazing

Work flow requirements in relation to fitting glass

Correct application and operation of tools and equipment used

Identification of equipment, processes and procedures

Types of silicone products and their use, including structural silicone

Workplace safety system requirements related to commercial and structural re-glazing

Regulations and standards for safe working at heights and on scaffolding

# Assessment Conditions

Assessors must:

hold training and assessment competencies as determined by the National Skills Standards Council (NSSC) or its successors

have vocational competency in the furnishing industry at least to the level being assessed with broad industry knowledge and experience, usually combined with a relevant industry qualification

be familiar with the current skills and knowledge used and have relevant, current experience in the furnishing industry.

Assessment methods must confirm consistency of performance over time rather than a single assessment event and in a range of workplace relevant contexts.

Assessment must be by observation of relevant tasks with questioning on underpinning knowledge and, where applicable, multimedia evidence, supervisor’s reports, projects and work samples.

Assessment is to be conducted on single units of competency or in conjunction with other related units of competency. Foundation skills are integral to competent performance in the unit and should not be assessed separately.

Assessment must occur on the job or in a workplace simulated facility with relevant process, equipment, materials, work instructions and deadlines.

Access is required to frames, glass, fixing material, sealants, workplace operating procedures and work orders, personal protective equipment and an appropriate work area/site.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73