# Assessment Requirements for MSFGG3029 Assess glass and glazing requirements

Release: 1

Assessment Requirements for MSFGG3029 Assess glass and glazing requirements

# Modification History

Release 1. Supersedes and is equivalent to MSFGG3002 Assess glass and glazing requirements.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

assessed glazing requirements and developed solutions that meet the requirements of Australian Standards AS 1288, AS 2208 and AS/NZS 4668 where requirements individually or cumulatively present situations that involve:

at least 4 different types of glazing

safety glazing requirements, including thickness and materials limitations

impacts of human activity

wind loading requirements

installation parameters.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

Australian Standards, their purpose and key provisions:

AS 1288 (sections 1, 4, 5 and 8 plus overview of 6,7 and 9)

AS/NZS 2208 (overview all sections)

AS/NZS 4667 (overview all sections)

mathematical procedures for estimation and measurement

the assessment process and factors that influence assessment, including impacts of:

wind

humans

formats and required inclusions for glass and glazing work orders.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

product information

AS/NZS documentation as detailed in the Knowledge Evidence

customer requirements

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73