# Assessment Requirements for MSFGG3033 Install shower screens

Release: 1

Assessment Requirements for MSFGG3033 Install shower screens

# Modification History

Release 1. Supersedes and is not equivalent to MSFGG3015 Fabricate and install shower screens and wardrobe doors.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

installed the following in accordance with work, safety and Australian Standards requirements:

1 frameless shower screen

1 framed or semi-frameless shower screen.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

Australian Standards, purpose and key provisions of AS 3740

mathematical procedures for estimation and measurement

organisational customer communication standards and protocols

types, characteristics and uses of different shower screen products, including:

sliding shower door

pivot shower door

semi-frameless

frameless

framed

shower screen installation:

workplace safety system requirements

work flow requirements

qualities and characteristics of glass and framing materials

site characteristics that may impact installation and how to respond

considerations for selection of fixing methods

installation techniques, the types of problems that may occur and how to avoid and respond

fabrication methods for different products and how this impacts installation

basic fabrication techniques for on-site product adjustments

quality assurance

types, characteristics, safe use, maintenance and limitations of tools and equipment

uses and limitations of adhesives and sealants

documentation requirements for installation work.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

equipment, tools and materials to complete tasks in the Performance Evidence

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73