# Assessment Requirements for MSFGG3037 Install structural glazing products

Release: 1

Assessment Requirements for MSFGG3037 Install structural glazing products

# Modification History

Release 1. Supersedes and is not equivalent to MSFGG3018 Prepare and install architectural engineered glazing.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

completed 3 of the following structural glazing installations in accordance with work, safety and Australian Standards requirements:

balustrade

curtain walls

glass floor glazing

overhead glazing

suspended or spider assembly

toughened assembly.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

Australian Standards, their purpose and key provisions:

AS/NZ1288

AS/NZS 4667

AS 1288

AS4285

mathematical procedures for estimation and measurement

organisational customer communication standards and protocols

types, characteristics, uses and limitations of structural glazing products, including:

aluminium glazing systems, including planar assemblies

balustrading

curtain wall systems

glass floor glazing

panel wall systems (hung and stacked)

overhead glazing

spider assemblies

toughened assemblies

structural glazing product installation:

workplace safety system requirements

work flow requirements

qualities and characteristics of structural glass, acrylic and framing materials

qualities, characteristics, uses and limitations of component hardware:

concealed overhead closer

guides

hinges

locks

pivots

weather seals

wheels

stays

site characteristics that may impact installation and how to respond

installation techniques, the types of problems that may occur and how to avoid and respond

fabrication methods for different products and how this impacts installation

basic fabrication techniques for on-site product adjustments

quality assurance

types, characteristics, safe use, maintenance and limitations of installation tools and equipment

uses and limitations of adhesives and sealants in structural glazing installations

role of engineering consultancy in structural glazing and how this impacts the installation role

documentation requirements for installation work.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

equipment, tools and materials to complete tasks in the Performance Evidence

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73