# Assessment Requirements for MSFGG3038 Conduct commercial and structural reglazing

Release: 1

Assessment Requirements for MSFGG3038 Conduct commercial and structural reglazing

# Modification History

Release 1. Supersedes and is equivalent to MSFGG3019 Conduct commercial and structural re-glazing.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

accurately measured glass in accordance with job specifications for all of the following:

curved glass

doors

sliding tracks

shopfronts and returns

curtain wall

structural and/or overhead glazing

used 3 different commercial products, one of which must be curved glass

used the following glazing methods:

pocket

flush

channel glazing

structural and double glazing.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

Australian Standards, their purpose and key provisions:

AS 1288

AS/NZS 466

regulations and standards for safe working at heights and on scaffolding

mathematical procedures for estimation and measurement

organisational customer communication standards and protocols

types, characteristics and uses of commercial and structural glazing products

commercial and structural reglazing:

workplace safety system requirements

work flow requirements for fitting glass

qualities and characteristics of glass, including hazards and handling requirements

qualities and characteristics of different frame types and how this impacts the glazing process, including:

plastic

aluminium

steel

solid timber

considerations for selection of fixing methods

techniques, methods, materials and processes for glazing and reglazing, the types of problems that may occur and how to avoid and respond

types of silicone products and their use, including structural silicone

fabrication methods for different products and how this impacts installation

basic fabrication techniques for on-site product adjustments

quality assurance

types, characteristics, safe use, maintenance and limitations of installation tools and equipment.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a commercial site for glazing and reglazing

equipment, tools and materials to complete tasks in the Performance Evidence

work orders

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73