# MSFGG4001 Apply standards and codes of practice for the glass industry

Release: 2

MSFGG4001 Apply standards and codes of practice for the glass industry

# Modification History

Release 2 - Update of Australian Standards codes.  Statement regarding currency of Australian Standards included in Range of Conditions and Performance Evidence.

Release 1 - New unit of competency

# Application

This unit of competency covers evaluating glass and glazing requirements for buildings to comply with relevant Australian Standards and codes of practice. It involves determining all aspects of Australian Standards and codes of practice that apply to glass processing and installation. It may be performed in workplaces which are involved in the manufacture, processing and/or installation of glass components and in job roles requiring leadership, judgement and complex problem solving.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

# Competency Field

# Unit Sector

Glass and Glazing

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Evaluate glass and glazing work requirements | 1.1 | Work health and safety (WHS) requirements for determining glass and glazing requirements are observed throughout the work |
|  |  | 1.2 | Glass and glazing job requirements are identified from workplace documentation, client and specialist specifications, and a technical evaluation conducted |
|  |  | 1.3 | Confirmed requirements for compliance with glass and glazing standards in the work are recorded according to workplace procedures and requirements |
| 2 | Determine application of glass and glazing standards | 2.1 | Products/types of glass for the job are identified and product supply sources are examined to ascertain current developments, if appropriate |
|  |  | 2.2 | Relevant standards are assessed against job requirements |
|  |  | 2.3 | Influencing factors are identified and their significance and impact on the end product determined |
|  |  | 2.4 | Professional technical advice is sought, if applicable and available, in accordance with workplace procedures |
|  |  | 2.5 | Optimal solution to completion of the work is identified and specifications meeting all applicable standards is confirmed |
| 3 | Communicate advice | 3.1 | Solution is converted into detailed work instructions/job specifications in accordance with workplace procedures |
|  |  | 3.2 | Other documentation, including any advice/referral to client of other building professionals, is completed in accordance with workplace practices |
|  |  | 3.3 | Communication with clients, building professionals and other workers is maintained to ensure all work is carried out to comply with glass and glazing standards |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency. Detail on appropriate performance levels for each furnishing unit of competency in reading, writing, oral communication and numeracy utilising the Australian Core Skills Framework (ACSF) are provided in the Furnishing Training Package Implementation Guide.

# Range of Conditions

| Specifies different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. Range is restricted to essential operating conditions and any other variables essential to the work environment. |  |
| --- | --- |
| Unit scope includes: | evaluation of all glass and glazing tasks with a formal and documented process of the Australian Standards requirements application of: AS 1288:2006 Glass and glazing in buildings - Selection and installation AS/NZS 2208:1996 Safety glazing materials in buildings AS/NZS 1170:2 2011 Structural design actions (wind loads) AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass AS/NZS 4668:2000 Glossary of terms used in the glass and glazing industry National Construction Code (NCC) references to windows and doors in buildings Note, wherever Australia Standards are listed they apply at the time of publication, but the most current version (including amendments) or replacement versions are to be used. |
| WHS requirements include: | Commonwealth, state or territory legislation and regulations organisational safety policies and procedures the use of personal protective equipment and clothing firefighting equipment first aid equipment hazard and risk control and elimination of hazardous materials and substances manual handling, including lifting and carrying |
| Procedures include: | work instructions standard operating procedures written, verbal or computer-based procedures |
| Organisational requirements include: | legal, organisational and site guidelines, policies and procedures relating to own role and responsibility quality assurance procedural manuals quality and continuous improvement processes and standards ethical standards recording and reporting access and equity principles and practices |

# Unit Mapping Information

No equivalent unit of competency

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73

Assessment Requirements for MSFGG4001 Apply standards and codes of practice for the glass industry

# Modification History

Release 2 - Update of Australian Standards codes.  Statement regarding currency of Australian Standards included in Range of Conditions and Performance Evidence.

Release 1 - New unit of competency

# Performance Evidence

Apply the full requirements of AS 1288:2006 Glass in buildings - Selection and installation, AS/NZS 2208:1996 Safety glazing materials in buildings, AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass, and AS/NZS 4668:2000 Glossary of terms used in the glass and glazing industry, and other industry codes of practice for all aspects of glass processing and installation, including for:

stairways

suspended balustrading

sloped or overhead glass

5-star rated buildings

Note, wherever Australia Standards are listed they apply at the time of publication, but the most current version (including amendments) or replacement versions are to be used.

Correctly complete measurements, calculate work requirements, optimise glass sizes for application and assembly of required resources

Use workplace technology, relevant resources and product specifications related to glass and glazing requirements to:

determine glass thickness limitations

assess the impact of glass shape for determining application

identify and calculate aspect ratios

understand and apply the principles of wind loadings

identify glazing situations affected by human impact, including where activity could generate a high risk of breakage, and where glass could be mistaken for a door

determine the appropriate glazing materials, processing and installation methods for various glazing situations, including all types of safety glass

Communicate ideas and information to enable confirmation of work requirements and specifications and the reporting of work outcomes and problems, interpret basic plans and follow safety procedures

Avoid backtracking, work flow interruptions or wastage

Work with others and in a team by recognising dependencies and using cooperative approaches to optimise work flow and productivity

# Knowledge Evidence

Workplace operating procedures, AS 1288:2006 Glass in buildings - Selection and installation, AS/NZS 2208:1996 Safety glazing materials in buildings, AS/NZS 1170:2 2002 Structural design actions (wind loads), AS/NZS 4667:2000 Quality requirements for cut-to-size and processed glass, and AS/NZS 4668:2000 Glossary of terms used in the glass and glazing industry, and NCC references to windows and doors in buildings

Note, wherever Australia Standards are listed they apply at the time of publication, but the most current version (including amendments) or replacement versions are to be used.

The qualities and characteristics of glass, including types, qualities, applications and limitations

Products and processes and current trends and developments in glass and glazing techniques/applications

Workplace safety system requirements related to the handling and installation of glass

Principles of operation of glass processing plant/equipment

The architecture and location of glass process/production equipment

Interactions between glass plant items/processes

Glass product specifications and tolerances

# Assessment Conditions

Assessors must:

hold training and assessment competencies as determined by the National Skills Standards Council (NSSC) or its successors

have vocational competency in the furnishing industry at least to the level being assessed with broad industry knowledge and experience, usually combined with a relevant industry qualification

be familiar with the current skills and knowledge used and have relevant, current experience in the furnishing industry.

Assessment methods must confirm consistency of performance over time rather than a single assessment event and in a range of workplace relevant contexts.

Assessment must be by observation of relevant tasks with questioning on underpinning knowledge and, where applicable, multimedia evidence, supervisor’s reports, projects and work samples.

Assessment is to be conducted on single units of competency or in conjunction with other related units of competency. Foundation skills are integral to competent performance in the unit and should not be assessed separately.

Assessment must occur on the job or in a workplace simulated facility with relevant process, equipment, materials, work instructions and deadlines.

Access is required to work requirements for glass and glazing jobs, Australian Standards, workplace operating procedures and relevant equipment.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=0601ab95-583a-4e93-b2d4-cfb27b03ed73